## ECRS Provisional Qualification
ECRS Provisional Qualification Request Form
QSE
QSE Short Name
QSE Test Contact Name
QSE Test Contact Phone
QSE Test Contact Email
List of Resources seeking ECRS Provisional Qualification per ERCOT Nodal Protocol Section 8.1.1.1 (3)
1. For SCED Dispatchable Generation Resources (including QSRs) and CLRs, requested qualification MW should be a capacity the Resource can ramp to in 10 minutes.
2. For ESRs requested qualification MW will be limited by the ESR's demonstrated maximum 2 hour sustained capability.
3. For Generation Resources seeking qualification to operate in synchronous condenser mode the requested qualification MW will be limited by the Resource's proven 20-second capability.
4. For NCLRs, the requested qualification MW should be the total capacity that can be interrupted in 10 minutes (based on a historical value).
QSEs may submit more than one form. QSEs/SubQSEs that use the same GMS dispatching system and personnel as that of the parent QSE should check below box.
| Form Instructions: | 1. Enter Station Name, Unit Name and Current QSE. Select Resource Category from the drop down list 2. Enter Requested Qualification MW. Refer to items 1-4 listed above 3.Select Y for Resources seeking ECRS qualification as Synchronous condenser fast response mode. If the same Resource(s) are seeking qualification as SCED dispatchable resource(s), Enter all the information again in new row and select N 4. If submitting data for multiple Sub QSE's, Please review the check box above and take appropriate action
| Station Name | Unit Name | Resource Category | Current QSE | Requested Qualification MW | Synchronous Condenser(Y/N)
Ex | Sub1 | UNIT1 | CC | ABC | 50 | N
Ex | Sub2 | UNIT1 | Hydro | ABC | 25 | Y
By checking this box, the QSE is attesting that the Market Participants QSE operational system for Resource specific data exchange (XML and ICCP) and control is same as the parent QSE

## Sheet1 (hidden)
RES_CAT
NCLR
CLR
ReciprocatingEngine
SCGT90
PowerStorage
Hydro
CC
SCLE90
GSReheat
CoalAndLignite
GSSupercritical
GSNonReheatWOAirPreHeat
Other

## Sheet2 (hidden)
UNIT_CODE | SUB | RES_CAT | QSE_SHORT | HSL
AAPIPLNC_AAPIPLNC_LD3 | AAPIPLNC | NCLR | QEDE20 | 24
AAPIPLNC_AAPIPLNC_LD4 | AAPIPLNC | NCLR | QEDE20 | 15
ACRLY_ACRLY_LD1 | ACRLY | NCLR | QENRWI | 2
ADK_ADK_LD2 | ADK | CLR | QTENSK | 10
ADK_ADK_LD3 | ADK | CLR | QALTRE | 10.1
ADMDS_ADMDS_LD1 | ADMDS | NCLR | QOCCID | 14
ADMDS_ADMDS_LD4 | ADMDS | NCLR | QTENSK | 3
AEEC_ANTLP_1 | AEEC | ReciprocatingEngine | QGOLDN | 54
AEEC_ANTLP_2 | AEEC | ReciprocatingEngine | QGOLDN | 54
AEEC_ANTLP_3 | AEEC | ReciprocatingEngine | QGOLDN | 54
AEEC_ELK_1 | AEEC | SCGT90 | QGOLDN | 190
AEEC_ELK_2 | AEEC | SCGT90 | QGOLDN | 190
AEEC_ELK_3 | AEEC | SCGT90 | QGOLDN | 190
AIRPK_AIRPK_LD2 | AIRPK | NCLR | QEDE20 | 2
AIRPK_AIRPK_LD3 | AIRPK | CLR | QALTRE | 3
AIRPK_AIRPK_LD4 | AIRPK | NCLR | QALTRE | 25.1
AIRPRTRD_AIRPRTRD_LD1 | AIRPRTRD | NCLR | QPRIO1 | 10
AK_AK_LD3 | AK | NCLR | QNRGTX | 15
ALCAT_ALCAT_LD1 | ALCAT | NCLR | QPRIO1 | 20
ALCAT_ALCAT_LD2 | ALCAT | NCLR | QEDE20 | 3.5
ALIQUING_ALIQUING_LD4 | ALIQUING | NCLR | QEDES3 | 42
ALISN_ALISN_LD1 | ALISN | NCLR | QEDE20 | 10
ALK_ALK_LD1 | ALK | NCLR | QEDE20 | 27
ALK_ALK_LD2 | ALK | NCLR | QEDE20 | 27
ALKLK_ALKLK_LD32 | ALKLK | NCLR | QPRIO1 | 6
ALKLK_ALKLK_LD33 | ALKLK | NCLR | QPRIO1 | 5
ALKLK_ALKLK_LD7 | ALKLK | NCLR | QTENSK | 2
ALVIN_ALVIN_LD1 | ALVIN | PowerStorage | QBROAD | 9.95
AMISTAD_AMISTAG1 | AMISTAD | Hydro | QSTEC | 37.9
AMISTAD_AMISTAG2 | AMISTAD | Hydro | QSTEC | 37.9
AMOCOOIL_CC1 | AMOCOOIL | CC | QTENSK | 32
AMOCOOIL_CC1 | AMOCOOIL | CC | QTENSK | 65
AMOCOOIL_CC2 | AMOCOOIL | CC | QTENSK | 75
AMOCOOIL_CC2 | AMOCOOIL | CC | QTENSK | 150
ANCHOR_ANCHOR_LD1 | ANCHOR | PowerStorage | QENE11 | 35.2
ANCHOR_ANCHOR_LD2 | ANCHOR | PowerStorage | QENE11 | 36.3
ANDNR_ANDNR_LD10 | ANDNR | NCLR | QENRWI | 3
ANDNR_ANDNR_LD11 | ANDNR | NCLR | QENRWI | 2
ANDNR_ANDNR_LD12 | ANDNR | NCLR | QEDE20 | 50
ANDNR_ANDNR_LD3 | ANDNR | NCLR | QENRWI | 6
ANDNR_ANDNR_LD4 | ANDNR | NCLR | QENRWI | 5
ANDNR_ANDNR_LD9 | ANDNR | NCLR | QENRWI | 3.5
ANDRD_ANDRD_LD5 | ANDRD | NCLR | QPRIO1 | 5.1
ANDRD_ANDRD_LD6 | ANDRD | NCLR | QPRIO1 | 5.1
ANGLETON_ANGLETON_LD1 | ANGLETON | PowerStorage | QBROAD | 9.95
ARCTY_ARCTY_LD1 | ARCTY | NCLR | QMP2EN | 5.1
ARETP_ARETP_LD2 | ARETP | NCLR | QPRIO1 | 5
ARPRD_ARPRD_LD1 | ARPRD | NCLR | QEDE20 | 12
ARPRD_ARPRD_LD2 | ARPRD | NCLR | QEDE20 | 10
ARPRD_ARPRD_LD3 | ARPRD | NCLR | QEDE20 | 9
ARROWHDC_ARROWHDC_LD1 | ARROWHDC | NCLR | QENDU2 | 45
ATKINS_ATKINSG7 | ATKINS | SCLE90 | QBTU | 18
AUSTPL_AUSTING1 | AUSTPL | Hydro | QLCRA | 8
AUSTPL_AUSTING2 | AUSTPL | Hydro | QLCRA | 9
AZ_AZ_G1 | AZ | SCLE90 | QTEN20 | 36
AZ_AZ_G2 | AZ | SCLE90 | QTEN20 | 36
AZ_AZ_G3 | AZ | SCLE90 | QTEN20 | 36
AZ_AZ_G4 | AZ | SCLE90 | QTEN20 | 36
AZ_AZ_LD5 | AZ | NCLR | QEXELO | 100
AZ_AZ_LD5 | AZ | NCLR | QEDE20 | 100
AZ_AZ_LD6 | AZ | NCLR | QEDE20 | 10
AZURE_AZURE_LD1 | AZURE | PowerStorage | QENEL6 | 77.6
BAC_CTG1 | BAC | SCLE90 | QTENSK | 59
BAC_CTG2 | BAC | SCLE90 | QTENSK | 61
BAC_CTG3 | BAC | SCLE90 | QTENSK | 49
BAC_CTG4 | BAC | SCLE90 | QTENSK | 54
BAC_CTG5 | BAC | SCLE90 | QTENSK | 54
BAC_CTG6 | BAC | SCLE90 | QTENSK | 52
BAKKE_BAKKE_LD1 | BAKKE | NCLR | QENRWI | 6
BAKKE_BAKKE_LD2 | BAKKE | NCLR | QENRWI | 5
BALYVILL_BALYVILL_LD1 | BALYVILL | NCLR | QMP2EN | 5.1
BARNW_BARNW_LD3 | BARNW | NCLR | QEDE20 | 15
BARNW_BARNW_LD6 | BARNW | NCLR | QPRIO1 | 5.1
BARNW_BARNW_LD8 | BARNW | NCLR | QPRIO1 | 4
BASTEN_CC1 | BASTEN | CC | QLONE2 | 171
BASTEN_CC1 | BASTEN | CC | QLONE2 | 233
BATCAVE_BATCAVE_LD1 | BATCAVE | PowerStorage | QBROAD | 100.5
BBP_BBP_LD4 | BBP | NCLR | QCALP | 32
BBP_BBP_LD4 | BBP | NCLR | QEDES3 | 32
BBP_BBP_LD4 | BBP | NCLR | TERCOT | 32
BBP_BBP_LD5 | BBP | NCLR | QCALP | 13
BBP_BBP_LD5 | BBP | NCLR | QEDES3 | 13
BBP_BBP_LD5 | BBP | NCLR | TERCOT | 13
BBP_BBP_LD6 | BBP | NCLR | QCALP | 31
BBP_BBP_LD6 | BBP | NCLR | QEDES3 | 31
BBP_BBP_LD6 | BBP | NCLR | TERCOT | 31
BBP_BBP_LD7 | BBP | NCLR | QCALP | 19
BBP_BBP_LD7 | BBP | NCLR | QEDES3 | 19
BBP_BBP_LD7 | BBP | NCLR | TERCOT | 19
BCCASTLE_BCCASTLE_LD1 | BCCASTLE | CLR | QPRIO2 | 146
BCH_UNIT1 | BCH | SCLE90 | QTEN23 | 44.6
BCH_UNIT2 | BCH | SCLE90 | QTEN23 | 44.6
BCH_UNIT3 | BCH | SCLE90 | QTEN23 | 44.6
BCH_UNIT4 | BCH | SCLE90 | QTEN23 | 44.6
BCH_UNIT5 | BCH | SCLE90 | QTEN23 | 44.6
BCH_UNIT6 | BCH | SCLE90 | QTEN23 | 44.6
BCV_BCV_LD4 | BCV | NCLR | QCALP | 15
BCV_BCV_LD4 | BCV | NCLR | QEDES3 | 15
BCV_BCV_LD5 | BCV | NCLR | QCALP | 11
BCV_BCV_LD5 | BCV | NCLR | QEDES3 | 11
BCV_BCV_LD6 | BCV | NCLR | QCALP | 10
BCV_BCV_LD6 | BCV | NCLR | QEDES3 | 10
BFM_BFM_LD4 | BFM | NCLR | QCALP | 15
BFM_BFM_LD4 | BFM | NCLR | QEDES3 | 15
BFM_BFM_LD4 | BFM | NCLR | TERCOT | 15
BFP_BFP_LD4 | BFP | NCLR | QCALP | 15
BFP_BFP_LD4 | BFP | NCLR | QEDES3 | 15
BFP_BFP_LD5 | BFP | NCLR | QCALP | 17
BFP_BFP_LD5 | BFP | NCLR | QEDES3 | 17
BFP_BFP_LD6 | BFP | NCLR | QCALP | 17
BFP_BFP_LD6 | BFP | NCLR | QEDES3 | 17
BFP_BFP_LD7 | BFP | NCLR | QCALP | 31
BFP_BFP_LD7 | BFP | NCLR | QEDES3 | 31
BIGTRE_BIGTRE_LD4 | BIGTRE | NCLR | QCALP | 15
BIGTRE_BIGTRE_LD4 | BIGTRE | NCLR | QEDES3 | 15
BIGTRE_BIGTRE_LD5 | BIGTRE | NCLR | QCALP | 22.9
BIGTRE_BIGTRE_LD5 | BIGTRE | NCLR | QEDES3 | 22.9
BIGTRE_BIGTRE_LD6 | BIGTRE | NCLR | QCALP | 8
BIGTRE_BIGTRE_LD6 | BIGTRE | NCLR | QEDES3 | 8
BIG_STAR_BIG_STAR_LD1 | BIG_STAR | PowerStorage | QECNR | 80
BLAKE_BLAKE_LD1 | BLAKE | NCLR | QPRIO1 | 10
BLKRV_BLKRV_LD3 | BLKRV | NCLR | QENDU2 | 20
BLKRV_BLKRV_LD4 | BLKRV | NCLR | QEDE20 | 15
BLKRV_BLKRV_LD5 | BLKRV | NCLR | QENDU2 | 11
BLKRV_BLKRV_LD6 | BLKRV | NCLR | QENDU2 | 15
BLSRA_BLSRA_LD1 | BLSRA | NCLR | QMP2EN | 5.1
BLSUMMIT_BATTERY | BLSUMMIT | PowerStorage | QFPL12 | 30
BLSUMMIT_BLSUMMIT_LD1 | BLSUMMIT | PowerStorage | QFPL12 | 30
BLUEJAY_BLUEJAY_LD1 | BLUEJAY | PowerStorage | QENEL7 | 50
BOBCAT_BOBCAT_LD1 | BOBCAT | NCLR | QEDE20 | 4
BOSQUESW_CC1 | BOSQUESW | CC | QCALP | 79.49
BOSQUESW_CC1 | BOSQUESW | CC | QCALP | 144.99
BOSQUESW_CC2 | BOSQUESW | CC | QCALP | 143.03
BOSQUESW_CC2 | BOSQUESW | CC | QCALP | 213.46
BRANDON_UNIT1 | BRANDON | SCLE90 | QTEN10 | 20
BRAUNIG_CC1 | BRAUNIG | CC | QCPSE | 164
BRAUNIG_CC1 | BRAUNIG | CC | QCPSE | 190
BRAUNIG_VHB1 | BRAUNIG | GSReheat | QCPSE | 217
BRAUNIG_VHB2 | BRAUNIG | GSReheat | QCPSE | 230
BRAUNIG_VHB3 | BRAUNIG | GSReheat | QCPSE | 412
BRAUNIG_VHB6CT5 | BRAUNIG | SCLE90 | QCPSE | 48
BRAUNIG_VHB6CT6 | BRAUNIG | SCLE90 | QCPSE | 48
BRAUNIG_VHB6CT7 | BRAUNIG | SCLE90 | QCPSE | 48
BRAUNIG_VHB6CT8 | BRAUNIG | SCLE90 | QCPSE | 47
BRAZORIA_BRAZORIA_LD1 | BRAZORIA | PowerStorage | QBROAD | 9.95
BRDPREYC_BRDPREYC_LD1 | BRDPREYC | NCLR | QOCCID | 5
BRKNR_BRKNR_LD3 | BRKNR | NCLR | QENRWI | 8
BRKNR_BRKNR_LD4 | BRKNR | NCLR | QENRWI | 2
BRKNR_BRKNR_LD8 | BRKNR | NCLR | QMP2EN | 5.1
BRNCH_BRNCH_LD2 | BRNCH | NCLR | QTENSK | 3
BRNSY_BRNSY_LD2 | BRNSY | NCLR | QENRWI | 1.5
BRNSY_BRNSY_LD4 | BRNSY | NCLR | QENRWI | 0.5
BROWN_BROWN_LD13 | BROWN | NCLR | QPRIO1 | 10.1
BROWN_BROWN_LD9 | BROWN | NCLR | QPRIO1 | 5.1
BRP_LOP1_BRP_LOP1_LD1 | BRP_LOP1 | PowerStorage | QBROAD | 9.95
BRP_PBL1_BRP_PBL1_LD1 | BRP_PBL1 | PowerStorage | QBROAD | 7.5
BRP_PBL2_BRP_PBL2_LD1 | BRP_PBL2 | PowerStorage | QBROAD | 9.95
BRP_ZPT1_BRP_ZPT1_LD1 | BRP_ZPT1 | PowerStorage | QBROAD | 9.95
BRP_ZPT2_BRP_ZPT2_LD1 | BRP_ZPT2 | PowerStorage | QBROAD | 5
BTE_CC1 | BTE | CC | QCALP | 145.47
BTE_CC1 | BTE | CC | QCALP | 195.92
BTM_UNIT1 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT2 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT3 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT4 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT5 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT6 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT7 | BTM | SCLE90 | QEDF21 | 44.6
BTM_UNIT8 | BTM | SCLE90 | QEDF21 | 44.6
BUCHAN_BUCHANG1 | BUCHAN | Hydro | QLCRA | 16
BUCHAN_BUCHANG2 | BUCHAN | Hydro | QLCRA | 16
BUCHAN_BUCHANG3 | BUCHAN | Hydro | QLCRA | 17
BVE_CC1 | BVE | CC | QCALP | 149.68
BVE_CC1 | BVE | CC | QCALP | 257.85
BYRDR_ES_BYRDR_ES_LD1 | BYRDR_ES | PowerStorage | QEONG4 | 50
BYU_CC1 | BYU | CC | QEDES3 | 4
BYU_CC1 | BYU | CC | QEDES3 | 79.6
B_DAVIS_B_DAVIG1 | B_DAVIS | GSReheat | QEDF20 | 292
B_DAVIS_CC1 | B_DAVIS | CC | QEDF20 | 157
B_DAVIS_CC1 | B_DAVIS | CC | QEDF20 | 319
CAL_CC1 | CAL | CC | QCALP | 58.32
CAL_CC1 | CAL | CC | QCALP | 130.65
CALAVERS_JKS1 | CALAVERS | CoalAndLignite | QCPSE | 560
CALAVERS_JKS2 | CALAVERS | CoalAndLignite | QCPSE | 785
CALAVERS_OWS1 | CALAVERS | GSReheat | QCPSE | 420
CALAVERS_OWS2 | CALAVERS | GSReheat | QCPSE | 410
CALHOUN_UNIT1 | CALHOUN | SCLE90 | QSHEL2 | 44
CALHOUN_UNIT2 | CALHOUN | SCLE90 | QSHEL2 | 44
CALVERT_CALVERT_LD1 | CALVERT | NCLR | QMP2EN | 5.1
CAM_CAM_LD1 | CAM | NCLR | QNRGTX | 45
CAM_CAM_LD2 | CAM | NCLR | QNRGTX | 65
CANAL_RD_CANAL_RD_LD1 | CANAL_RD | NCLR | QTENSK | 4
CANYONRO_CANYONRO_LD1 | CANYONRO | NCLR | QMP2EN | 10.1
CAR_CAR_LD1 | CAR | NCLR | QMP2EN | 5.1
CARBN_BSP_1 | CARBN | SCLE90 | QPRIO1 | 17.5
CASL_GAP_BATTERY1 | CASL_GAP | PowerStorage | QLUMN1 | 9.9
CASL_GAP_CASL_GAP_LD1 | CASL_GAP | PowerStorage | QLUMN1 | 10
CATARINA_CATARINA_LD1 | CATARINA | PowerStorage | QBEEP1 | 5
CAYMUSCP_CAYMUSCP_LD1 | CAYMUSCP | NCLR | QEDE20 | 25
CBEC_CC1 | CBEC | CC | QTEN20 | 71.9
CBEC_CC1 | CBEC | CC | QTEN20 | 79.9
CBEC_CC1 | CBEC | CC | QTEN20 | 102
CBEC_CC2 | CBEC | CC | QTEN20 | 72.9
CBEC_CC2 | CBEC | CC | QTEN20 | 78.9
CBEC_CC2 | CBEC | CC | QTEN20 | 107
CBEC_GT11 | CBEC | SCLE90 | QTEN20 | 39
CBEC_GT12 | CBEC | SCLE90 | QTEN20 | 39
CBECII_CC3 | CBECII | CC | QEXELO | 329.28
CBECII_CC3 | CBECII | CC | QEXELO | 334.97
CBECII_CC3 | CBECII | CC | QEXELO | 478.44
CBY_CBY_G1 | CBY | GSSupercritical | QNRGTX | 745
CBY_CBY_G2 | CBY | GSSupercritical | QNRGTX | 749
CBY4_CC1 | CBY4 | CC | QNRGT4 | 163
CBY4_CC1 | CBY4 | CC | QNRGT4 | 178
CCEC_CC1 | CCEC | CC | QCALP | 124.68
CCEC_CC1 | CCEC | CC | QCALP | 136.99
CEDRVALE_CEDRVALE_LD3 | CEDRVALE | NCLR | QPRIO1 | 5.1
CEDRVALE_CEDRVALE_LD4 | CEDRVALE | PowerStorage | QBEEP1 | 9.95
CEDRVALE_CEDRVALE_LD6 | CEDRVALE | CLR | QPRIO2 | 22
CGRSW_CGRSW_LD1 | CGRSW | NCLR | QEDE20 | 13
CHALK_CHALK_LD7 | CHALK | NCLR | QPRIO1 | 12.1
CHAMON_CTG_0101 | CHAMON | GSNonReheatWOAirPreHeat | QSHEL2 | 44
CHAMON_CTG_0301 | CHAMON | GSNonReheatWOAirPreHeat | QSHEL2 | 44
CHATFELD_CHATFELD_LD1 | CHATFELD | NCLR | QMP2EN | 30.1
CHE_CC1 | CHE | CC | QCALP | 110
CHE_CC1 | CHE | CC | QCALP | 171
CHE_CC1 | CHE | CC | QCALP | 181
CHEAPS_CHEAPS_LD1 | CHEAPS | NCLR | QMP2EN | 10.1
CHERRYCR_CHERRYCR_LD1 | CHERRYCR | NCLR | QPRIO1 | 5.1
CHICG_CHICG_LD1 | CHICG | NCLR | QTENSK | 6.9
CHICW_CHICW_LD1 | CHICW | NCLR | QENRWI | 0.25
CHICW_CHICW_LD2 | CHICW | NCLR | QENRWI | 0.45
CHICW_CHICW_LD3 | CHICW | NCLR | QENRWI | 0.7
CHICW_CHICW_LD4 | CHICW | NCLR | QTENSK | 3.7
CHILK_CHILK_LD1 | CHILK | NCLR | QPRIO1 | 20
CHISMGRD_CHISMGRD_LD1 | CHISMGRD | PowerStorage | QTEN25 | 101.7
CHOLLA_CHOLLA_LD1 | CHOLLA | NCLR | QPRIO1 | 23
CHYNE_CHYNE_LD4 | CHYNE | NCLR | QENRWI | 4
CHYNE_CHYNE_LD6 | CHYNE | NCLR | QEDE20 | 30
CITYVICT_CTG01 | CITYVICT | SCLE90 | QTENSK | 44
CITYVICT_CTG02 | CITYVICT | SCLE90 | QTENSK | 44
CLARMNT_CLARMNT_LD1 | CLARMNT | NCLR | QOCCID | 7
CLBNR_CLBNR_LD3 | CLBNR | NCLR | QEDE20 | 18
CLBSN_CLBSN_LD1 | CLBSN | NCLR | QEDE20 | 5
CLSTE_CLSTE_LD1 | CLSTE | NCLR | QVOLTU | 10
CLYDE_CLYDE_LD1 | CLYDE | NCLR | QPRIO1 | 10
CMPST_CMPST_LD4 | CMPST | NCLR | QMP2EN | 5.2
CMPST_CMPST_LD5 | CMPST | NCLR | QMP2EN | 7.7
CNPOI_CNPOI_LD1 | CNPOI | NCLR | QENRWI | 16
CNR_CNR_LD1 | CNR | NCLR | QEDE20 | 28
CNTYRDS_CNTYRDS_LD4 | CNTYRDS | NCLR | QPRIO1 | 5.1
CNTYRDS_CNTYRDS_LD5 | CNTYRDS | NCLR | QPRIO1 | 5.1
COHMA_COHMA_LD2 | COHMA | NCLR | QPRIO1 | 6.1
COHMA_COHMA_LD3 | COHMA | NCLR | QENROC | 8
COLETO_COLETOG1 | COLETO | CoalAndLignite | QLUMN | 655
COTTNWD_COTTNWD_LD2 | COTTNWD | NCLR | QPRIO1 | 10
COTTNWD_COTTNWD_LD3 | COTTNWD | NCLR | QPRIO1 | 5
COTTNWD_COTTNWD_LD7 | COTTNWD | CLR | QPRIO2 | 27
COTTNWD_COTTNWD_LD8 | COTTNWD | CLR | QPRIO2 | 18
COTTNWD_COTTNWD_LD9 | COTTNWD | CLR | QPRIO2 | 27
COYANOSA_COYANOSA_LD2 | COYANOSA | NCLR | QPRIO1 | 5.1
COYANOSA_COYANOSA_LD4 | COYANOSA | NCLR | QPRIO1 | 20
COYANOSA_COYANOSA_LD5 | COYANOSA | NCLR | QPRIO1 | 20
COYANOSA_COYANOSA_LD6 | COYANOSA | NCLR | QEDE20 | 5
COYNW_COYNW_LD2 | COYNW | NCLR | QEDE20 | 40
COYOTE_COYOTE_LD11 | COYOTE | NCLR | QPRIO1 | 5.1
COYOTSPR_COYOTSPR_LD1 | COYOTSPR | NCLR | QPRIO1 | 5.1
COYOTSPR_COYOTSPR_LD2 | COYOTSPR | NCLR | QPRIO1 | 5.1
COYOTSPR_COYOTSPR_LD3 | COYOTSPR | NCLR | QPRIO1 | 5.1
COYOTSPR_COYOTSPR_LD4 | COYOTSPR | NCLR | QENRWI | 1.2
COYOTSPR_COYOTSPR_LD5 | COYOTSPR | PowerStorage | QBEEP1 | 9.95
CRDEX_CRDEX_LD1 | CRDEX | NCLR | QEDE20 | 10
CRDEX_CRDEX_LD2 | CRDEX | NCLR | QEDE20 | 10
CRIS_CRIS_LD1 | CRIS | NCLR | QENRWI | 0.6
CRLFR_CRLFR_LD1 | CRLFR | NCLR | QEXELO | 6
CRNAT_CRNAT_LD1 | CRNAT | NCLR | QEDE20 | 19
CRNES_CRNES_LD6 | CRNES | NCLR | QENRWI | 1.2
CRNES_CRNES_LD9 | CRNES | NCLR | QPRIO1 | 10
CROSSETT_CROSSETT_LD1 | CROSSETT | PowerStorage | QTEN22 | 100
CROSSETT_CROSSETT_LD2 | CROSSETT | PowerStorage | QTEN22 | 100
CRTCHFLD_CRTCHFLD_LD1 | CRTCHFLD | NCLR | QMP2EN | 30.1
CRTCHFLD_CRTCHFLD_LD2 | CRTCHFLD | NCLR | QMP2EN | 30.1
CTRLA_CTRLA_LD1 | CTRLA | NCLR | QEDE20 | 55
CTRLA_CTRLA_LD2 | CTRLA | NCLR | QEDE20 | 55
CVC_CC1 | CVC | CC | QEDE21 | 144
CVC_CC1 | CVC | CC | QEDE21 | 165
CVC_CC1 | CVC | CC | QEDE21 | 169
CWIND_CWIND_LD1 | CWIND | NCLR | QENRWI | 3.4
DANSBY_DANSBYG1 | DANSBY | GSReheat | QBTU | 107
DANSBY_DANSBYG2 | DANSBY | SCLE90 | QBTU | 45
DANSBY_DANSBYG3 | DANSBY | SCLE90 | QBTU | 47
DARSCR_DARSCR_LD10 | DARSCR | NCLR | QMP2EN | 5.1
DARSCR_DARSCR_LD11 | DARSCR | NCLR | QMP2EN | 3
DARSCR_DARSCR_LD9 | DARSCR | NCLR | QMP2EN | 8.4
DCSES_BES1 | DCSES | PowerStorage | QLUMN | 66.5
DCSES_BES2 | DCSES | PowerStorage | QLUMN | 66.5
DCSES_BES3 | DCSES | PowerStorage | QLUMN | 63.5
DCSES_BES4 | DCSES | PowerStorage | QLUMN | 63.5
DCSES_CT10 | DCSES | SCLE90 | QLUMN | 69
DCSES_CT20 | DCSES | SCLE90 | QLUMN | 69
DCSES_CT30 | DCSES | SCLE90 | QLUMN | 68
DCSES_CT40 | DCSES | SCLE90 | QLUMN | 69
DCSES_DCSES_LD1 | DCSES | PowerStorage | QLUMN | 67
DCSES_DCSES_LD2 | DCSES | PowerStorage | QLUMN | 67
DCSES_DCSES_LD3 | DCSES | PowerStorage | QLUMN | 64
DCSES_DCSES_LD4 | DCSES | PowerStorage | QLUMN | 64
DDPEC_CC1 | DDPEC | CC | QCALP | 156
DDPEC_CC1 | DDPEC | CC | QCALP | 172
DDPEC_CC1 | DDPEC | CC | QCALP | 182
DDPEC_CC1 | DDPEC | CC | QCALP | 287
DEC_AGR_A | DEC | ReciprocatingEngine | QDENT2 | 56.45
DEC_AGR_B | DEC | ReciprocatingEngine | QDENT2 | 56.45
DEC_AGR_C | DEC | ReciprocatingEngine | QDENT2 | 56.45
DEC_AGR_D | DEC | ReciprocatingEngine | QDENT2 | 56.45
DECKER_DPGT_1 | DECKER | SCLE90 | QAEN | 48
DECKER_DPGT_2 | DECKER | SCLE90 | QAEN | 48
DECKER_DPGT_3 | DECKER | SCLE90 | QAEN | 48
DECKER_DPGT_4 | DECKER | SCLE90 | QAEN | 48
DEVINE_DEVINE_LD1 | DEVINE | NCLR | QPRIO1 | 10
DEWEY_DEWEY_LD1 | DEWEY | NCLR | QENDU2 | 15
DEWEY_DEWEY_LD10 | DEWEY | NCLR | QPRIO1 | 5.1
DEWEY_DEWEY_LD11 | DEWEY | NCLR | QPRIO1 | 10
DEWEY_DEWEY_LD12 | DEWEY | NCLR | QPRIO1 | 10
DEWEY_DEWEY_LD13 | DEWEY | NCLR | QPRIO1 | 10
DEWEY_DEWEY_LD15 | DEWEY | NCLR | QPRIO1 | 50
DEWEY_DEWEY_LD16 | DEWEY | NCLR | QPRIO1 | 25
DEWEY_DEWEY_LD7 | DEWEY | NCLR | QPRIO1 | 5.1
DEWEY_DEWEY_LD8 | DEWEY | NCLR | QPRIO1 | 5.1
DEWEY_DEWEY_LD9 | DEWEY | NCLR | QPRIO1 | 5.1
DHIDE_DHIDE_LD3 | DHIDE | NCLR | QOCCID | 4
DHIDE_DHIDE_LD4 | DHIDE | NCLR | QOCCID | 4
DIB_CC1 | DIB | CC | QOCCID | 64.5
DIB_CC1 | DIB | CC | QOCCID | 74.8
DIB_CC1 | DIB | CC | QOCCID | 75
DIB_DIB_LD2 | DIB | NCLR | QOCCID | 195
DIBOL_DIBOL_LD1 | DIBOL | NCLR | QPRIO1 | 20
DIBOL_DIBOL_LD2 | DIBOL | NCLR | QPRIO1 | 20
DIBOL_DIBOL_LD3 | DIBOL | PowerStorage | QBEEP1 | 9
DICKNSON_DICKNSON_LD1 | DICKNSON | PowerStorage | QBROAD | 9.95
DIMMIT_DIMMIT_LD1 | DIMMIT | NCLR | QPRIO1 | 5
DIMMIT_DIMMIT_LD2 | DIMMIT | NCLR | QPRIO1 | 5
DKR_DKR_LD3 | DKR | NCLR | QEDE20 | 70
DNDAM_DENISOG1 | DNDAM | Hydro | QRAYBN | 49.5
DNDAM_DENISOG2 | DNDAM | Hydro | QRAYBN | 49.5
DOC_DOC_LD1 | DOC | NCLR | QMP2EN | 30.1
DOLEY_DOLEY_LD1 | DOLEY | NCLR | QPRIO1 | 10
DOWGEN_DOWGEN_LD1 | DOWGEN | NCLR | TERCOT | 60
DOWGEN_DOWGEN_LD1 | DOWGEN | NCLR | QTENSK | 60
DOWGEN_DOWGEN_LD1 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD10 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD11 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD12 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD3 | DOWGEN | NCLR | TERCOT | 60
DOWGEN_DOWGEN_LD3 | DOWGEN | NCLR | QTENSK | 60
DOWGEN_DOWGEN_LD3 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD5 | DOWGEN | NCLR | TERCOT | 60
DOWGEN_DOWGEN_LD5 | DOWGEN | NCLR | QTENSK | 60
DOWGEN_DOWGEN_LD5 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD6 | DOWGEN | NCLR | TERCOT | 60
DOWGEN_DOWGEN_LD6 | DOWGEN | NCLR | QTENSK | 60
DOWGEN_DOWGEN_LD6 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD7 | DOWGEN | NCLR | QTENSK | 60
DOWGEN_DOWGEN_LD7 | DOWGEN | NCLR | QTENS7 | 60
DOWGEN_DOWGEN_LD9 | DOWGEN | NCLR | TERCOT | 250
DOWGEN_DOWGEN_LD9 | DOWGEN | NCLR | QTENSK | 250
DOWGEN_DOWGEN_LD9 | DOWGEN | NCLR | QTENS7 | 250
DOWGEN_DOW_G37 | DOWGEN | SCLE90 | QTENS7 | 59.19
DOWGEN_DOW_G61 | DOWGEN | SCLE90 | QTENS7 | 68.3
DOWGEN_DOW_G63 | DOWGEN | SCLE90 | QTENS7 | 68.3
DOWGEN_DOW_G66 | DOWGEN | SCGT90 | QTENS7 | 95.62
DOWGEN_DOW_G67 | DOWGEN | SCGT90 | QTENS7 | 95.62
DOWGEN_DOW_G81 | DOWGEN | SCLE90 | QTENS7 | 72.85
DOWGEN_DOW_G82 | DOWGEN | SCLE90 | QTENS7 | 72.85
DOWGEN_DOW_G83 | DOWGEN | SCLE90 | QTENS7 | 72.85
DOWGEN_DOW_GT96 | DOWGEN | SCGT90 | QTENS7 | 169.38
DOWGEN_DOW_ST64 | DOWGEN | GSNonReheatWOAirPreHeat | QTENS7 | 50
DOWGEN_DOW_ST65 | DOWGEN | GSNonReheatWOAirPreHeat | QTENS7 | 95.2
DOWGEN_DOW_ST84 | DOWGEN | GSNonReheatWOAirPreHeat | QTENS7 | 85
DOWGEN_DOW_ST95 | DOWGEN | GSNonReheatWOAirPreHeat | QTENS7 | 50
DPO_DPO_LD1 | DPO | NCLR | QEDE20 | 16
DPO_DPO_LD2 | DPO | NCLR | QEDE20 | 25
DRIVER_DRIVER_LD1 | DRIVER | NCLR | QEDE20 | 55
DRIVER_DRIVER_LD2 | DRIVER | NCLR | QTENSK | 2
DRIVER_DRIVER_LD3 | DRIVER | NCLR | QTENSK | 5
DRIVER_DRIVER_LD4 | DRIVER | NCLR | QEDE20 | 60
DUKE_CC1 | DUKE | CC | QCALP | 149
DUKE_CC1 | DUKE | CC | QCALP | 168
DUN_DUN_LD1 | DUN | NCLR | QEDE20 | 16
DUN_DUN_LD2 | DUN | NCLR | QEDE20 | 16
DUN_DUN_LD3 | DUN | NCLR | QEDE20 | 16
DUN_DUN_LD4 | DUN | NCLR | QEDE20 | 16
DUN_DUN_LD5 | DUN | NCLR | QEDE20 | 16
DUPUY_DUPUY_LD1 | DUPUY | NCLR | QENROC | 15
EAG_EAG_LD1 | EAG | NCLR | QEDE20 | 11
EAG_EAG_LD2 | EAG | NCLR | QEDE20 | 11
ECEC_G1 | ECEC | SCGT90 | QTENSK | 147.01
ECEC_G2 | ECEC | SCGT90 | QTENSK | 147.01
ECTHM_ECTHM_LD6 | ECTHM | NCLR | QENRWI | 1.5
EDWDS_EDWDS_LD2 | EDWDS | NCLR | QPRIO1 | 6.1
EDWDS_EDWDS_LD3 | EDWDS | NCLR | QPRIO1 | 5.1
EILAND_EILAND_LD2 | EILAND | NCLR | QTENSK | 9
EILAND_EILAND_LD3 | EILAND | NCLR | QMP2EN | 5.1
ELMAR_ELMAR_LD5 | ELMAR | NCLR | QEDE20 | 5
ELMAR_ELMAR_LD6 | ELMAR | NCLR | QOCCID | 4
ELM_ST_ELM_ST_LD1 | ELM_ST | NCLR | QPRIO1 | 5.1
EMMAS_EMMAS_LD2 | EMMAS | NCLR | QENRWI | 2
EMMAS_EMMAS_LD3 | EMMAS | NCLR | QENRWI | 1.7
EMMAS_EMMAS_LD4 | EMMAS | NCLR | QENRWI | 0.6
ENC_ENC_LD1 | ENC | NCLR | QEDE20 | 8
ENDPARKS_ENDPARKS_LD1 | ENDPARKS | PowerStorage | QSHEL2 | 50
ENERGY_ENERGY_LD1 | ENERGY | NCLR | QMP2EN | 5.1
ESTILES_ESTILES_LD1 | ESTILES | NCLR | QPRIO1 | 5.1
ESTILES_ESTILES_LD2 | ESTILES | NCLR | QPRIO1 | 35
ESTILES_ESTILES_LD3 | ESTILES | NCLR | QPRIO1 | 30
ESTONIAN_ESTONIAN_LD1 | ESTONIAN | PowerStorage | QENEL5 | 101.6
ETCCS_CC1 | ETCCS | CC | QLUMN | 115
ETCCS_CC1 | ETCCS | CC | QLUMN | 204
ETP_ETP_LD1 | ETP | NCLR | QSTEC | 11.19
ETP_ETP_LD2 | ETP | NCLR | QSTEC | 11.19
ETP_ETP_LD3 | ETP | NCLR | QSTEC | 11.19
ETP_ETP_LD4 | ETP | NCLR | QSTEC | 12
EUNICE_EUNICE_LD1 | EUNICE | PowerStorage | QTENSK | 40.3
EXN_EXN_G1 | EXN | SCLE90 | QEDE12 | 27
EXN_EXN_G10 | EXN | SCLE90 | QEDE12 | 18
EXN_EXN_G11 | EXN | SCLE90 | QEDE12 | 18
EXN_EXN_G12 | EXN | SCLE90 | QEDE12 | 18
EXN_EXN_G13 | EXN | SCLE90 | QEDE12 | 31
EXN_EXN_G14 | EXN | SCGT90 | QEDE12 | 140
EXN_EXN_G15 | EXN | Other | QEDE12 | 7.5
EXN_EXN_G2 | EXN | SCLE90 | QEDE12 | 27
EXN_EXN_G3 | EXN | SCLE90 | QEDE12 | 27
EXN_EXN_G4 | EXN | SCGT90 | QEDE12 | 76
EXN_EXN_G8 | EXN | SCLE90 | QEDE12 | 31
EXN_EXN_G9 | EXN | SCLE90 | QEDE12 | 18
EXW_EXW_LD1 | EXW | NCLR | QEDE20 | 50
FALCON_FALCONG1 | FALCON | Hydro | QSTEC | 12
FALCON_FALCONG2 | FALCON | Hydro | QSTEC | 12
FALCON_FALCONG3 | FALCON | Hydro | QSTEC | 12
FAULKNER_FAULKNER_LD2 | FAULKNER | NCLR | QPRIO1 | 50
FAULKNER_FAULKNER_LD3 | FAULKNER | NCLR | QPRIO1 | 50
FAULKNER_FAULKNER_LD4 | FAULKNER | PowerStorage | QBEEP1 | 9.95
FEGC_UNIT1 | FEGC | SCGT90 | QSHEL2 | 119
FENCESLR_FENCESLR_LD1 | FENCESLR | PowerStorage | QENEL5 | 70
FERGCC_CC1 | FERGCC | CC | QLCRA | 169
FERGCC_CC1 | FERGCC | CC | QLCRA | 182
FERIS_FERIS_LD1 | FERIS | NCLR | QPRIO1 | 5
FIRON_FIRON_LD1 | FIRON | NCLR | QEDE20 | 65
FKLCY_FKLCY_LD10 | FKLCY | NCLR | QENRWI | 1
FKLCY_FKLCY_LD6 | FKLCY | NCLR | QENRWI | 5
FKLCY_FKLCY_LD8 | FKLCY | NCLR | QENRWI | 3
FKLCY_FKLCY_LD9 | FKLCY | NCLR | QENRWI | 1.9
FL_FL_LD1 | FL | NCLR | QMP2EN | 30.1
FLAT_TOP_FLAT_TOP_LD2 | FLAT_TOP | NCLR | QPRIO1 | 5.1
FLAT_TOP_FLAT_TOP_LD3 | FLAT_TOP | NCLR | QPRIO1 | 5.1
FLAT_TOP_FLAT_TOP_LD4 | FLAT_TOP | NCLR | QPRIO1 | 5.1
FLAT_TOP_FLAT_TOP_LD5 | FLAT_TOP | NCLR | QPRIO1 | 5.1
FLAT_TOP_FLAT_TOP_LD6 | FLAT_TOP | NCLR | QPRIO1 | 5.1
FLAT_TOP_FLAT_TOP_LD7 | FLAT_TOP | PowerStorage | QSHEL2 | 9.9
FLCNS_CC1 | FLCNS | CC | QEDF22 | 62
FLCNS_CC1 | FLCNS | CC | QEDF22 | 75
FLOWERII_FLOWERII_LD1 | FLOWERII | PowerStorage | QTEN22 | 100
FLVABES1_FLVABES1_LD1 | FLVABES1 | PowerStorage | QTEN22 | 9.9
FORMOSA_CC1 | FORMOSA | CC | QFORMO | 32
FORMOSA_CC1 | FORMOSA | CC | QFORMO | 44
FORMOSA_CC1 | FORMOSA | CC | QFORMO | 62
FORMOSA_CC1 | FORMOSA | CC | QFORMO | 73
FORMOSA_CC1 | FORMOSA | CC | QFORMO | 74
FORMOSA_CC1 | FORMOSA | CC | QFORMO | 77
FORMOSA_CC2 | FORMOSA | CC | QFORMO | 40
FORMOSA_CC2 | FORMOSA | CC | QFORMO | 86
FORMOSA_FORMOSA_LD3 | FORMOSA | NCLR | QFORMO | 240
FORMOSA_FORMOSG11 | FORMOSA | SCGT90 | QFORMO | 130
FORMOSA_FORMOSG12 | FORMOSA | SCGT90 | QFORMO | 130
FORMOSA_FORMOSG8 | FORMOSA | SCLE90 | QFORMO | 33
FORSN_FORSN_LD11 | FORSN | NCLR | QENRWI | 6.5
FORSN_FORSN_LD12 | FORSN | NCLR | QENRWI | 1.6
FORSN_FORSN_LD13 | FORSN | NCLR | QPRIO1 | 10
FORSN_FORSN_LD5 | FORSN | NCLR | QENRWI | 5
FORSN_FORSN_LD9 | FORSN | NCLR | QPRIO1 | 12.1
FORSW_FORSW_LD1 | FORSW | NCLR | QTENSK | 14
FORSW_FORSW_LD2 | FORSW | NCLR | QTENSK | 4
FP_FP_LD1 | FP | NCLR | QEDE20 | 50
FPPYD1_FPP_G1_J01 | FPPYD1 | CoalAndLignite | QLCRA | 604
FPPYD1_FPP_G1_J02 | FPPYD1 | CoalAndLignite | QAEN | 604
FPPYD1_FPP_G2_J01 | FPPYD1 | CoalAndLignite | QLCRA | 599
FPPYD1_FPP_G2_J02 | FPPYD1 | CoalAndLignite | QAEN | 599
FPPYD2_FPP_G3 | FPPYD2 | CoalAndLignite | QLCRA | 437
FREC_CC1 | FREC | CC | QCALP | 147
FREC_CC1 | FREC | CC | QCALP | 169
FREC_CC2 | FREC | CC | QCALP | 145
FREC_CC2 | FREC | CC | QCALP | 168
FRNKS_FRNKS_LD1 | FRNKS | NCLR | QMP2EN | 5.1
FRNYPP_CC1 | FRNYPP | CC | QLUMN | 157
FRNYPP_CC1 | FRNYPP | CC | QLUMN | 165
FRNYPP_CC1 | FRNYPP | CC | QLUMN | 406
FRNYPP_CC2 | FRNYPP | CC | QLUMN | 157
FRNYPP_CC2 | FRNYPP | CC | QLUMN | 165
FRNYPP_CC2 | FRNYPP | CC | QLUMN | 406
FTR_CC1 | FTR | CC | QTENSK | 160
FTR_CC1 | FTR | CC | QTENSK | 400
FT_CHADB_FT_CHADB_LD2 | FT_CHADB | NCLR | QENRWI | 0.5
FZ_FZ_LD8 | FZ | NCLR | QMP2EN | 10.1
GAMBIT_GAMBIT_LD1 | GAMBIT | PowerStorage | QSUE23 | 100
GASLD_GASLD_LD1 | GASLD | NCLR | QENROC | 3.8
GATOR_GATOR_LD1 | GATOR | NCLR | QEDE20 | 5
GBY_GBYGT73 | GBY | SCLE90 | QNRGTX | 56
GBY_GBYGT74 | GBY | SCLE90 | QNRGTX | 56
GBY_GBYGT81 | GBY | SCLE90 | QNRGTX | 56
GBY_GBYGT82 | GBY | SCLE90 | QNRGTX | 50
GBY_GBYGT83 | GBY | SCLE90 | QNRGTX | 56
GBY_GBYGT84 | GBY | SCLE90 | QNRGTX | 56
GEMSCRYP_GEMSCRYP_LD1 | GEMSCRYP | CLR | QPRIOR | 100
GEMSORXP_GEMSORXP_LD2 | GEMSORXP | NCLR | QEDE20 | 13
GEORSO_GEORSO_LD1 | GEORSO | NCLR | QENRWI | 11
GIDEON_GIDEONG1 | GIDEON | GSReheat | QLCRA | 130
GIDEON_GIDEONG2 | GIDEON | GSReheat | QLCRA | 135
GIDEON_GIDEONG3 | GIDEON | GSReheat | QLCRA | 336
GLNHV_GLNHV_LD1 | GLNHV | NCLR | QEDE20 | 15
GLNHV_GLNHV_LD1 | GLNHV | NCLR | QEAGL | 15
GLSCK_GLSCK_LD5 | GLSCK | NCLR | QTENSK | 3
GLSCK_GLSCK_LD6 | GLSCK | NCLR | QTENSK | 3
GLSCN_GLSCN_LD1 | GLSCN | NCLR | QENRWI | 4.2
GLSCN_GLSCN_LD2 | GLSCN | NCLR | QPRIO1 | 10
GLSRANCH_GLSRANCH_LD1 | GLSRANCH | NCLR | QEDE20 | 55
GLSRANCH_GLSRANCH_LD2 | GLSRANCH | NCLR | QTENSK | 4
GOMZ_GOMZ_LD1 | GOMZ | PowerStorage | QBEEP1 | 9.95
GPI_GPI_LD3 | GPI | NCLR | QEDE20 | 25
GRADY_GRADY_LD3 | GRADY | NCLR | QENRWI | 1.5
GRADY_GRADY_LD5 | GRADY | NCLR | QPRIO1 | 10.1
GRDNE_GRDNE_LD1 | GRDNE | NCLR | QENRWI | 1.5
GRDNE_GRDNE_LD2 | GRDNE | NCLR | QPRIO1 | 20
GREENBR_GREENBR_LD1 | GREENBR | NCLR | QMP2EN | 5.1
GRIZZLY_GRIZZLY_LD1 | GRIZZLY | PowerStorage | QPRIO1 | 9.95
GRLRD_GRLRD_LD1 | GRLRD | NCLR | TONCOR | 4
GRSES_UNIT1 | GRSES | GSReheat | QLUMN | 239
GRSES_UNIT2 | GRSES | GSReheat | QLUMN | 390
GSMTH_GSMTH_LD3 | GSMTH | NCLR | QENRWI | 5
GSMTH_GSMTH_LD5 | GSMTH | NCLR | QENROC | 6
GSMTH_GSMTH_LD6 | GSMTH | NCLR | QENROC | 4.5
GSMTH_GSMTH_LD7 | GSMTH | NCLR | QENRWI | 10
GSMTH_GSMTH_LD8 | GSMTH | NCLR | QEDE20 | 30
GSMTH_GSMTH_LD9 | GSMTH | NCLR | QEDE20 | 50
GUADG_CC1 | GUADG | CC | QCALP | 143
GUADG_CC1 | GUADG | CC | QCALP | 198
GUADG_CC2 | GUADG | CC | QCALP | 141
GUADG_CC2 | GUADG | CC | QCALP | 198
GUNSO_GUNSO_LD1 | GUNSO | NCLR | QENRWI | 2
GUNSO_GUNSO_LD2 | GUNSO | NCLR | QENRWI | 7
GUNSO_GUNSO_LD3 | GUNSO | NCLR | QENRWI | 7
GUNSO_GUNSO_LD4 | GUNSO | NCLR | QENRWI | 8
GUNSO_GUNSO_LD5 | GUNSO | NCLR | QENRWI | 5
GYVLM_GYVLM_LD1 | GYVLM | NCLR | QENRWI | 5
GYVLM_GYVLM_LD2 | GYVLM | NCLR | QENRWI | 2.5
GYVLM_GYVLM_LD3 | GYVLM | NCLR | QPRIO1 | 5.1
GYVLM_GYVLM_LD4 | GYVLM | NCLR | QPRIO1 | 5.1
GZ_GZ_LD10 | GZ | NCLR | QGRIDB | 0.5
HAMMOND_HAMMOND_LD1 | HAMMOND | NCLR | QMP2EN | 5.1
HASTINGS_HASTINGS_LD2 | HASTINGS | NCLR | QMP2EN | 35
HAYSEN_HAYSENG1 | HAYSEN | SCGT90 | QLUMN | 210
HAYSEN_HAYSENG2 | HAYSEN | SCGT90 | QLUMN | 211
HAYSEN_HAYSENG3 | HAYSEN | SCGT90 | QLUMN | 210
HAYSEN_HAYSENG4 | HAYSEN | SCGT90 | QLUMN | 213
HEIGHTTN_HEIGHTTN_LD1 | HEIGHTTN | PowerStorage | QBROAD | 9.95
HELIOSCR_HELIOSCR_LD1 | HELIOSCR | NCLR | QPRIO1 | 200
HIWAY_9_HIWAY_9_LD1 | HIWAY_9 | NCLR | QENROC | 3
HI_LONEB_HI_LONEB_LD1 | HI_LONEB | PowerStorage | QENEL1 | 51.1
HLSES_UNIT3 | HLSES | GSReheat | QEXELO | 375
HLSES_UNIT4 | HLSES | GSReheat | QEXELO | 435
HLSES_UNIT5 | HLSES | GSReheat | QEXELO | 435
HOEFSROA_HOEFSROA_LD1 | HOEFSROA | NCLR | QENRWI | 3
HOLCOMB_HOLCOMB_LD1 | HOLCOMB | PowerStorage | QBEEP1 | 7.5
HOP_HOP_LD1 | HOP | NCLR | QEDE20 | 50
HOP_HOP_LD2 | HOP | NCLR | QEDE20 | 50
HOWRD_HOWRD_LD2 | HOWRD | NCLR | QENRWI | 5
HOWRD_HOWRD_LD3 | HOWRD | NCLR | QPRIO1 | 10.1
HRBESS_HRBESS_LD2 | HRBESS | PowerStorage | QBEEPO | 2
HRSHD_HRSHD_LD1 | HRSHD | NCLR | QPRIO1 | 30
HSACH_HSACH_LD1 | HSACH | NCLR | QENRWI | 14
IND_IND_LD1 | IND | NCLR | QEDE20 | 45
INDL_ESS | INDL | PowerStorage | QECNR | 9.9
INDL_INDL_LD1 | INDL | PowerStorage | QECNR | 9.9
INGLCOSW_CC1 | INGLCOSW | CC | QOCCID | 150
INGLCOSW_CC1 | INGLCOSW | CC | QOCCID | 155
INKSDA_INKS_G1 | INKSDA | Hydro | QLCRA | 14
IOLA_IOLA_LD1 | IOLA | NCLR | QMP2EN | 5.1
IRASB_IRASB_LD1 | IRASB | NCLR | QENRWI | 2.2
IRLBJ_IRLBJ_LD1 | IRLBJ | NCLR | QENRWI | 1
IRLBJ_IRLBJ_LD2 | IRLBJ | NCLR | QENRWI | 1.3
IRLBJ_IRLBJ_LD3 | IRLBJ | NCLR | QENRWI | 2
IRLBJ_IRLBJ_LD4 | IRLBJ | NCLR | QENRWI | 0.7
IVANS_IVANS_LD1 | IVANS | NCLR | QENRWI | 8
JACKCNTY_CC1 | JACKCNTY | CC | QBRAZP | 150
JACKCNTY_CC1 | JACKCNTY | CC | QBRAZP | 289
JARDIN_JARDIN_LD1 | JARDIN | NCLR | QSTEC4 | 16
JARDIN_JARDIN_LD2 | JARDIN | NCLR | QSTEC4 | 19
JCHRSTL_JCHRSTL_LD10 | JCHRSTL | CLR | QDENT3 | 11
JCHRSTL_JCHRSTL_LD11 | JCHRSTL | CLR | QDENT3 | 150
JCHRSTL_JCHRSTL_LD12 | JCHRSTL | CLR | QDENT3 | 125
JCHRSTL_JCHRSTL_LD9 | JCHRSTL | CLR | QDENT3 | 11
JCKCNTY2_CC1 | JCKCNTY2 | CC | QBRAZP | 158
JCKCNTY2_CC1 | JCKCNTY2 | CC | QBRAZP | 295
JC_BAT_JC_BAT_LD1 | JC_BAT | PowerStorage | QLCRA | 2.25
JDKNS_JDKNS_LD5 | JDKNS | NCLR | QPRIO1 | 20
JDKNS_JDKNS_LD6 | JDKNS | NCLR | QPRIO1 | 10
JKWST_JKWST_LD1 | JKWST | NCLR | QMP2EN | 8
JUNCTION_JUNCTION_LD1 | JUNCTION | PowerStorage | QBEEP1 | 9.95
K0_K0_LD1 | K0 | PowerStorage | QBROAD | 9.95
KEPLER_KEPLER_LD1 | KEPLER | NCLR | QEDE20 | 8
KEYSTONE_KEYSTONE_LD1 | KEYSTONE | NCLR | QENRWI | 2.5
KMASB_KMASB_LD1 | KMASB | NCLR | QENRWI | 5
KMASB_KMASB_LD2 | KMASB | NCLR | QENRWI | 5
KMCHI_CC1 | KMCHI | CC | QTENSK | 148
KMCHI_CC1 | KMCHI | CC | QTENSK | 151
KMCHI_CC1 | KMCHI | CC | QTENSK | 310
KMCHI_CC2 | KMCHI | CC | QTENSK | 150
KMCHI_CC2 | KMCHI | CC | QTENSK | 152
KMCHI_CC2 | KMCHI | CC | QTENSK | 311
KNAPP_KNAPP_LD1 | KNAPP | NCLR | QENRWI | 8
KNLTR_KNLTR_LD1 | KNLTR | NCLR | QENROC | 1.2
KNLTR_KNLTR_LD2 | KNLTR | NCLR | QENROC | 2.2
KNLTR_KNLTR_LD3 | KNLTR | NCLR | QENROC | 3
KT_KT_LD1 | KT | NCLR | QMP2EN | 8
KT_KT_LD2 | KT | NCLR | QMP2EN | 9
KYSTN_KYSTN_LD1 | KYSTN | NCLR | QENRWI | 2.2
LAN_LAN_LD1 | LAN | NCLR | QMP2EN | 30.1
LARDVFTN_G4 | LARDVFTN | SCGT90 | QEDF20 | 90.1
LARDVFTN_G5 | LARDVFTN | SCGT90 | QEDF20 | 87.3
LDRAW_LDRAW_LD1 | LDRAW | NCLR | QEDE20 | 65
LEG_LEG_G1 | LEG | CoalAndLignite | QNRGTX | 824
LEG_LEG_G2 | LEG | CoalAndLignite | QNRGTX | 836
LEON_CRK_LCPCT1 | LEON_CRK | SCLE90 | QCPSE | 46
LEON_CRK_LCPCT2 | LEON_CRK | SCLE90 | QCPSE | 46
LEON_CRK_LCPCT3 | LEON_CRK | SCLE90 | QCPSE | 46
LEON_CRK_LCPCT4 | LEON_CRK | SCLE90 | QCPSE | 46
LFKHL_LFKHL_LD1 | LFKHL | NCLR | QPRIO1 | 10
LGE_CC1 | LGE | CC | QNRGTX | 75
LGE_CC1 | LGE | CC | QNRGTX | 145
LHM_CVC_G4 | LHM | SCGT90 | QEDE21 | 167
LHSES_UNIT1 | LHSES | GSReheat | QLUMN | 392
LHSES_UNIT2A | LHSES | GSReheat | QLUMN | 523
LIG_UNIT1 | LIG | SCLE90 | QSHEL2 | 41.5
LIG_UNIT2 | LIG | SCLE90 | QSHEL2 | 41.5
LILY_LILY_LD1 | LILY | PowerStorage | QENEL5 | 51.7
LIPTON_LIPTON_LD1 | LIPTON | NCLR | QPRIO1 | 25
LIQAR_LIQAR_LD3 | LIQAR | NCLR | QEDE20 | 12
LITTLHOS_LITTLHOS_LD2 | LITTLHOS | NCLR | QMP2EN | 5.1
LKTMS_LKTMS_LD4 | LKTMS | NCLR | QPRIO1 | 5
LONESTAR_LONESTAR_LD10 | LONESTAR | NCLR | QPRIO1 | 40
LONESTAR_LONESTAR_LD11 | LONESTAR | NCLR | QPRIO1 | 40
LONESTAR_LONESTAR_LD12 | LONESTAR | NCLR | QPRIO1 | 30
LONESTAR_LONESTAR_LD9 | LONESTAR | PowerStorage | QBEEP1 | 9.95
LOSTPI_CC1 | LOSTPI | CC | QLCRA | 170
LOSTPI_CC1 | LOSTPI | CC | QLCRA | 188
LOVNG_LOVNG_LD5 | LOVNG | NCLR | QPRIO1 | 4
LOVNG_LOVNG_LD6 | LOVNG | NCLR | QPRIO1 | 4
LOVNG_LOVNG_LD8 | LOVNG | NCLR | QPRIO1 | 10
LPCCS_CC1 | LPCCS | CC | QLUMN | 145
LPCCS_CC1 | LPCCS | CC | QLUMN | 153
LPCCS_CC1 | LPCCS | CC | QLUMN | 204
LPCCS_CC2 | LPCCS | CC | QLUMN | 145
LPCCS_CC2 | LPCCS | CC | QLUMN | 153
LPCCS_CC2 | LPCCS | CC | QLUMN | 204
LULIMA_LULIMA_LD1 | LULIMA | NCLR | QLCRA | 30
LULING_LULING_LD1 | LULING | NCLR | QPRIO1 | 5
LULING_LULING_LD2 | LULING | NCLR | QPRIO1 | 5
LULING_LULING_LD3 | LULING | NCLR | QPRIO1 | 5
LULING_LULING_LD4 | LULING | NCLR | QPRIO1 | 5
LUTHER_LUTHER_LD18 | LUTHER | NCLR | QPRIO1 | 5.1
L_463S_L_463S_LD1 | L_463S | PowerStorage | QBROAD | 9.95
MADERO_MADERO_LD1 | MADERO | PowerStorage | QSUE41 | 100
MADERO_MADERO_LD2 | MADERO | PowerStorage | QSUE42 | 100
MAGNME_MAGNME_LD1 | MAGNME | NCLR | QLCRA | 15
MAGNO_TN_MAGNO_TN_LD1 | MAGNO_TN | PowerStorage | QBROAD | 9.95
MALONE_MALONE_LD3 | MALONE | NCLR | QMP2EN | 1
MARBFA_MARBFAG1 | MARBFA | Hydro | QLCRA | 21
MARBFA_MARBFAG2 | MARBFA | Hydro | QLCRA | 20
MARGARET_MARGARET_LD1 | MARGARET | NCLR | QMP2EN | 5.1
MARSFO_MARSFOG1 | MARSFO | Hydro | QLCRA | 36
MARSFO_MARSFOG2 | MARSFO | Hydro | QLCRA | 36
MARSFO_MARSFOG3 | MARSFO | Hydro | QLCRA | 36
MASON_MASON_LD4 | MASON | NCLR | QPRIO1 | 10
MASSENGL_CC1 | MASSENGL | CC | QTEN10 | 18
MASSENGL_CC1 | MASSENGL | CC | QTEN10 | 38
MAYO_MAYO_LD1 | MAYO | NCLR | QEDE20 | 7
MCAN_MCAN_LD1 | MCAN | NCLR | QEDE20 | 15
MCAN_MCAN_LD2 | MCAN | NCLR | QEDE20 | 20
MCELROY_MCELROY_LD1 | MCELROY | NCLR | QTENSK | 18
MCELROY_MCELROY_LD2 | MCELROY | NCLR | QTENSK | 8
MCELROY_MCELROY_LD3 | MCELROY | NCLR | QTENSK | 4
MCK_MCK_LD1 | MCK | NCLR | QEDE20 | 18
MCSES_UNIT6 | MCSES | GSNonReheatWOAirPreHeat | QTEN20 | 122
MCSES_UNIT7 | MCSES | GSNonReheatWOAirPreHeat | QTEN20 | 118
MCSES_UNIT8 | MCSES | GSSupercritical | QTEN20 | 568
MDAIR_MDAIR_LD12 | MDAIR | NCLR | QPRIO1 | 4
MDANP_CT1 | MDANP | SCGT90 | QLUMN | 229
MDANP_CT2 | MDANP | SCGT90 | QLUMN | 227
MDANP_CT3 | MDANP | SCGT90 | QLUMN | 227
MDANP_CT4 | MDANP | SCGT90 | QLUMN | 227
MDANP_CT5 | MDANP | SCGT90 | QLUMN | 241
MDANP_CT6 | MDANP | SCGT90 | QLUMN | 243
MDBSN_MDBSN_LD1 | MDBSN | NCLR | QEDE20 | 6
MDBSN_MDBSN_LD2 | MDBSN | NCLR | QEDE20 | 8
MDFAM_MDFAM_LD2 | MDFAM | NCLR | QOCCID | 21.6
MDFRM_MDFRM_LD1 | MDFRM | NCLR | QENRWI | 2.5
MDGLF_MDGLF_LD1 | MDGLF | NCLR | QEDE20 | 12
MDGLF_MDGLF_LD1 | MDGLF | NCLR | QEAGL | 12
MDLNE_MDLNE_LD1 | MDLNE | NCLR | QTENSK | 2
MDLNE_MDLNE_LD2 | MDLNE | NCLR | QEDE20 | 2.5
MDLNE_MDLNE_LD3 | MDLNE | NCLR | QEDE20 | 37
MDLNW_MDLNW_LD8 | MDLNW | NCLR | QPRIO1 | 20
MDRAW_MDRAW_LD1 | MDRAW | NCLR | QOCCID | 4
MDRAW_MDRAW_LD2 | MDRAW | NCLR | QENRWI | 2
MDRAW_MDRAW_LD4 | MDRAW | NCLR | QPRIO1 | 5
MDTHN_MDTHN_LD4 | MDTHN | NCLR | QEDE20 | 14
MDTXI_MDTXI_LD1 | MDTXI | NCLR | QTENSK | 14.8
MDTXI_MDTXI_LD2 | MDTXI | NCLR | QTENSK | 14.8
MDTXI_MDTXI_LD3 | MDTXI | NCLR | QTENSK | 37.6
MDTXI_MDTXI_LD4 | MDTXI | NCLR | QTENSK | 37.6
MEANS_MEANS_LD3 | MEANS | NCLR | QENRWI | 4
MGIND_MGIND_LD3 | MGIND | NCLR | QEDE20 | 12
MGSES_CT1 | MGSES | SCLE90 | QLUMN | 66
MGSES_CT2 | MGSES | SCLE90 | QLUMN | 65
MGSES_CT3 | MGSES | SCLE90 | QLUMN | 65
MGSES_CT4 | MGSES | SCLE90 | QLUMN | 67
MGSES_CT5 | MGSES | SCLE90 | QLUMN | 67
MGSES_CT6 | MGSES | SCLE90 | QLUMN | 67
MIDWY_MIDWY_LD7 | MIDWY | NCLR | QENRWI | 8
MIDWY_MIDWY_LD8 | MIDWY | NCLR | QENRWI | 8
MIL_MILLERG1 | MIL | GSNonReheatWOAirPreHeat | QBRAZP | 70
MIL_MILLERG2 | MIL | GSReheat | QBRAZP | 118
MIL_MILLERG3 | MIL | GSReheat | QBRAZP | 208
MIL_MILLERG4 | MIL | SCGT90 | QBRAZP | 100
MIL_MILLERG5 | MIL | SCGT90 | QBRAZP | 100
MIRAGE_GEN_0001 | MIRAGE | SCLE90 | QEXELO | 11
MIRAGE_GEN_0001 | MIRAGE | SCLE90 | TERCOT | 11
MLA_MLA_LD3 | MLA | NCLR | QEDE20 | 9
MLDR2_MLDR2_LD1 | MLDR2 | NCLR | QMP2EN | 25.1
MLSES_UNIT1 | MLSES | CoalAndLignite | QLUMN | 800
MLSES_UNIT2 | MLSES | CoalAndLignite | QLUMN | 805
MLSES_UNIT3 | MLSES | CoalAndLignite | QLUMN | 805
MNHNS_MNHNS_LD2 | MNHNS | NCLR | QOCCID | 4
MNHNS_MNHNS_LD7 | MNHNS | NCLR | QPRIO1 | 10
MNSEX_MNSEX_LD2 | MNSEX | NCLR | QEDE20 | 30
MONT_MONT_LD1 | MONT | NCLR | QMP2EN | 5.1
MSTNG_MSTNG_LD1 | MSTNG | NCLR | QENRWI | 4
MSTNG_MSTNG_LD5 | MSTNG | NCLR | QPRIO1 | 7
MSTNG_MSTNG_LD6 | MSTNG | NCLR | QENRWI | 1
MUSTNGCK_MUSTNGCK_LD1 | MUSTNGCK | PowerStorage | QENE10 | 70
MV_VALV4_MV_VALV4_LD1 | MV_VALV4 | PowerStorage | QBEEP1 | 9.95
MY_MY_LD1 | MY | NCLR | QVOLTU | 1.2
MYPTX_MYPTX_LD1 | MYPTX | NCLR | QENDU2 | 4
MYPTX_MYPTX_LD2 | MYPTX | NCLR | QENDU2 | 11
NACPW_UNIT1 | NACPW | Other | QAEN | 105
NATDAM_NATDAM_LD4 | NATDAM | NCLR | QENRWI | 0.7
NAVALBAS_NAVALBAS_LD1 | NAVALBAS | NCLR | QVOLTU | 1.2
NCARBIDE_NCARBIG1 | NCARBIDE | SCLE90 | QTENS7 | 31
NCARBIDE_NCARBIG2 | NCARBIDE | SCLE90 | QTENS7 | 31
NCARBIDE_NCARBIG3 | NCARBIDE | SCLE90 | QTENS7 | 32
NCARBIDE_NCARBIG5 | NCARBIDE | SCLE90 | QTENS7 | 13
NCARBIDE_NCARBIG6 | NCARBIDE | SCLE90 | QTENS7 | 6
NCARBIDE_NCARBIG7 | NCARBIDE | SCLE90 | QTENS7 | 13
NCARBIDE_NCARBIG8 | NCARBIDE | SCLE90 | QTENS7 | 16
NCO_NCO_LD1 | NCO | PowerStorage | QSHEL2 | 50
NCWAM_NCWAM_LD2 | NCWAM | NCLR | QOCCID | 34
NCWDN_NCWDN_LD13 | NCWDN | NCLR | QPRIO1 | 5.1
NCWDN_NCWDN_LD14 | NCWDN | NCLR | QPRIO1 | 5.1
NEDIN_CC1 | NEDIN | CC | QCALP | 215
NEDIN_CC1 | NEDIN | CC | QCALP | 236
NEVAD_RC_NEVAD_RC_LD2 | NEVAD_RC | NCLR | QMP2EN | 30.1
NEVAD_RC_NEVAD_RC_LD3 | NEVAD_RC | NCLR | QMP2EN | 30.1
NF_BRP_NF_BRP_LD1 | NF_BRP | PowerStorage | QBROAD | 100.5
NOBLESLR_NOBLESLR_LD1 | NOBLESLR | PowerStorage | QNGREN | 63.5
NOBLESLR_NOBLESLR_LD2 | NOBLESLR | PowerStorage | QNGREN | 63.5
NUECES_B_CC1 | NUECES_B | CC | QEDF20 | 157
NUECES_B_CC1 | NUECES_B | CC | QEDF20 | 319
NWF_NBS | NWF | PowerStorage | QDUKER | 33.7
NWF_NWF_LD1 | NWF | PowerStorage | QDUKER | 40
NWTER_RC_NWTER_RC_LD3 | NWTER_RC | NCLR | QMP2EN | 30.1
OBRIN_OBRIN_LD1 | OBRIN | NCLR | QENRWI | 10
OCI_ALM1_OCI_ALM1_LD1 | OCI_ALM1 | PowerStorage | QCPSE1 | 1
ODESW_ODESW_LD1 | ODESW | NCLR | QPRIO1 | 5.1
ODESW_ODESW_LD2 | ODESW | NCLR | QPRIO1 | 5.1
ODESW_ODESW_LD3 | ODESW | PowerStorage | QBROAD | 9.95
OECCS_CC1 | OECCS | CC | QLUMN | 158.2
OECCS_CC1 | OECCS | CC | QLUMN | 166.7
OECCS_CC1 | OECCS | CC | QLUMN | 206
OECCS_CC2 | OECCS | CC | QLUMN | 158.2
OECCS_CC2 | OECCS | CC | QLUMN | 166.7
OECCS_CC2 | OECCS | CC | QLUMN | 206
OGSES_UNIT1A | OGSES | CoalAndLignite | QLUMN | 855
OGSES_UNIT2 | OGSES | CoalAndLignite | QLUMN | 855
OLINGR_OLING_2 | OLINGR | GSReheat | QGAR | 107
OLINGR_OLING_3 | OLINGR | GSReheat | QGAR | 146
OLINGR_OLING_4 | OLINGR | SCLE90 | QGAR | 80
OLLINPHI_OLLINPHI_LD1 | OLLINPHI | NCLR | QPRIO1 | 25
OLNEYTN_OLNEYTN_LD1 | OLNEYTN | PowerStorage | QBEEP1 | 9.95
OWLHL_OWLHL_LD1 | OWLHL | NCLR | QEDE20 | 60
OWLHL_OWLHL_LD2 | OWLHL | NCLR | QPRIO1 | 40
OXYSOLAR_OXYSOLAR_LD1 | OXYSOLAR | NCLR | QOCCID | 20
OXY_CC_OXY_CCG1 | OXY_CC | SCLE90 | QEDF24 | 31
OXY_INGL_OXY_INGL_LD2 | OXY_INGL | NCLR | TERCOT | 225
OXY_INGL_OXY_INGL_LD2 | OXY_INGL | NCLR | QOCCID | 225
PANDA_S_CC1 | PANDA_S | CC | QTENSK | 199
PANDA_S_CC1 | PANDA_S | CC | QTENSK | 287
PANDA_T1_CC1 | PANDA_T1 | CC | QEDF39 | 220
PANDA_T1_CC1 | PANDA_T1 | CC | QEDF39 | 223
PANDA_T1_CC1 | PANDA_T1 | CC | QEDF39 | 326
PANDA_T2_CC1 | PANDA_T2 | CC | ERCCRE | 191.15
PANDA_T2_CC1 | PANDA_T2 | CC | QTENSK | 191.15
PANDA_T2_CC1 | PANDA_T2 | CC | ERCCRE | 334.7
PANDA_T2_CC1 | PANDA_T2 | CC | QTENSK | 334.7
PAWNEE_PAWNEE_LD1 | PAWNEE | NCLR | QSTEC | 13
PB2SES_CT1 | PB2SES | SCLE90 | QLUMN | 63
PB2SES_CT2 | PB2SES | SCLE90 | QLUMN | 64
PB2SES_CT3 | PB2SES | SCLE90 | QLUMN | 64
PB2SES_CT4 | PB2SES | SCLE90 | QLUMN | 64
PB2SES_CT5 | PB2SES | SCLE90 | QLUMN | 65
PEARSAL2_AGR_A | PEARSAL2 | ReciprocatingEngine | QSTEC | 50.64
PEARSAL2_AGR_B | PEARSAL2 | ReciprocatingEngine | QSTEC | 50.64
PEARSAL2_AGR_C | PEARSAL2 | ReciprocatingEngine | QSTEC | 50.64
PEARSAL2_AGR_D | PEARSAL2 | ReciprocatingEngine | QSTEC | 50.64
PECKS_PECKS_LD1 | PECKS | NCLR | QTENSK | 7
PECKS_PECKS_LD2 | PECKS | NCLR | QTENSK | 3
PECN_GRV_PECN_GRV_LD1 | PECN_GRV | NCLR | QEDE20 | 9
PEGAS_PEGAS_LD1 | PEGAS | NCLR | QOCCID | 6
PEGAS_PEGAS_LD7 | PEGAS | NCLR | QMP2EN | 5.1
PGSTH_PGSTH_LD10 | PGSTH | NCLR | QENDU2 | 15
PGSTH_PGSTH_LD15 | PGSTH | NCLR | QPRIO1 | 10
PGSTH_PGSTH_LD4 | PGSTH | NCLR | QENRWI | 1.5
PGSTH_PGSTH_LD5 | PGSTH | NCLR | QENRWI | 1.5
PGSTH_PGSTH_LD6 | PGSTH | NCLR | QENDU2 | 9
PGSTH_PGSTH_LD7 | PGSTH | NCLR | QENDU2 | 15
PIR_PIR_LD4 | PIR | NCLR | TCNPE | 8
PIR_PIR_LD5 | PIR | NCLR | TCNPE | 40
PIR_PIR_LD6 | PIR | NCLR | TCNPE | 30
POOLRO_POOLRO_LD1 | POOLRO | NCLR | QLCRA | 25
POYNR_POYNR_LD1 | POYNR | NCLR | QENRWI | 2
PR_PR_G2 | PR | GSReheat | QPRIO1 | 33.33
PRAXAIR_PRAXAIR_LD1 | PRAXAIR | NCLR | QGAR | 15
PRO_UNIT1 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT2 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT3 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT4 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT5 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT6 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT7 | PRO | SCLE90 | QEDF21 | 44.53
PRO_UNIT8 | PRO | SCLE90 | QEDF21 | 44.53
PRONGHRN_PRONGHRN_LD1 | PRONGHRN | NCLR | QTENSK | 4
PRTLAVS_PRTLAVS_LD1 | PRTLAVS | PowerStorage | QSTEC3 | 9.9
PSA_CC1 | PSA | CC | QEDF26 | 60
PSA_CC1 | PSA | CC | QEDF26 | 61
PSA_CC1 | PSA | CC | QEDF26 | 61.5
PSA_CC1 | PSA | CC | QEDF26 | 62
PSA_CC1 | PSA | CC | QEDF26 | 62.5
PSA_CC1 | PSA | CC | QEDF26 | 118
PSG_CC1 | PSG | CC | QCALP | 164.48
PSG_CC1 | PSG | CC | QCALP | 170.39
PSHIL_PSHIL_LD2 | PSHIL | NCLR | QPRIO1 | 5
PYOTE_PYOTE_LD2 | PYOTE | NCLR | QPRIO1 | 30
PYOTE_PYOTE_LD3 | PYOTE | NCLR | QPRIO1 | 25
PYR_ESS | PYR | PowerStorage | QECNR | 9.9
PYR_PYR_LD1 | PYR | PowerStorage | QECNR | 40
PYR_PYR_LD2 | PYR | PowerStorage | QECNR | 15.1
PYR_PYR_LD3 | PYR | PowerStorage | QECNR | 15.1
QALSW_CC1 | QALSW | CC | QEDF28 | 74
QALSW_CC1 | QALSW | CC | QEDF28 | 98
QALSW_CC2 | QALSW | CC | QEDF28 | 72
QALSW_CC2 | QALSW | CC | QEDF28 | 98
QUEEN_BA_QUEEN_BA_LD1 | QUEEN_BA | PowerStorage | QENEL2 | 51.1
RAB_UNIT1 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT2 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT3 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT4 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT5 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT6 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT7 | RAB | SCLE90 | QTEN23 | 44.6
RAB_UNIT8 | RAB | SCLE90 | QTEN23 | 44.6
RANKIN_RANKIN_LD1 | RANKIN | NCLR | QENRWI | 1.2
RANKIN_RANKIN_LD2 | RANKIN | NCLR | QENRWI | 2.5
RAYBURN_CC1 | RAYBURN | CC | QSTEC | 40
RAYBURN_CC1 | RAYBURN | CC | QSTEC | 50
RCKYROAD_RCKYROAD_LD1 | RCKYROAD | NCLR | QPRIO1 | 5.1
RDPOI_RDPOI_LD1 | RDPOI | NCLR | QENDU2 | 15
REDGATE_AGR_A | REDGATE | ReciprocatingEngine | QSTEC | 56.28
REDGATE_AGR_B | REDGATE | ReciprocatingEngine | QSTEC | 56.28
REDGATE_AGR_C | REDGATE | ReciprocatingEngine | QSTEC | 56.28
REDGATE_AGR_D | REDGATE | ReciprocatingEngine | QSTEC | 56.28
RGR_RGR_LD1 | RGR | NCLR | QEDE20 | 28
RHESS2_RHESS2_LD1 | RHESS2 | PowerStorage | QEDIS9 | 10
RHESS2_RHESS2_LD1 | RHESS2 | PowerStorage | QVIRID | 10
RICOCHET_RICOCHET_LD1 | RICOCHET | NCLR | QMP2EN | 5.1
RICOCHET_RICOCHET_LD2 | RICOCHET | NCLR | QMP2EN | 5.1
RIG_RIG_LD1 | RIG | NCLR | QEDE20 | 17
RIG_RIG_LD2 | RIG | NCLR | QEDE20 | 10
RIG_RIG_LD3 | RIG | NCLR | QEDE20 | 17
RIG_RIG_LD4 | RIG | NCLR | QEDE20 | 10
RINGO_RINGO_LD1 | RINGO | NCLR | QTENSK | 2
RINGO_RINGO_LD8 | RINGO | NCLR | QENRWI | 1.5
RINGO_RINGO_LD9 | RINGO | NCLR | QVOLTU | 20
RIONOG_CC1 | RIONOG | CC | QCPSE | 158
RIONOG_CC1 | RIONOG | CC | QCPSE | 303
RNG_RNG_LD4 | RNG | NCLR | QNRGTX | 47
RNG_RNG_LD5 | RNG | NCLR | QNRGTX | 40
RNG_RNG_LD6 | RNG | NCLR | QNRGTX | 60
ROANW_ROANW_LD1 | ROANW | NCLR | QENRWI | 11
ROANW_ROANW_LD2 | ROANW | NCLR | QENDU2 | 3
ROSELAND_ROSELAND_LD1 | ROSELAND | PowerStorage | QENEL5 | 50
ROSELAND_ROSELAND_LD1 | ROSELAND | PowerStorage | QENEL9 | 50
ROUGH_ROUGH_LD1 | ROUGH | NCLR | QOCCID | 9
ROUGH_ROUGH_LD2 | ROUGH | NCLR | QOCCID | 9
ROUGH_ROUGH_LD3 | ROUGH | NCLR | QOCCID | 15
ROUGH_ROUGH_LD5 | ROUGH | NCLR | QPRIO1 | 10.1
ROUNDTOP_ROUNDTOP_LD1 | ROUNDTOP | NCLR | QPRIO1 | 10.1
RPUBRDS_RPUBRDS_LD1 | RPUBRDS | PowerStorage | QSHEL2 | 50
RTLSNAKE_RTLSNAKE_LD1 | RTLSNAKE | NCLR | QPRIO1 | 5.1
RTLSNAKE_RTLSNAKE_LD2 | RTLSNAKE | PowerStorage | QBEEP1 | 9.95
RVRVLYS_RVRVLYS_LD1 | RVRVLYS | PowerStorage | QSHEL2 | 50
RVRVLYS_RVRVLYS_LD2 | RVRVLYS | PowerStorage | QSHEL2 | 50
RWALL_RWALL_LD1 | RWALL | NCLR | QPRIO1 | 5
SADLBACK_SADLBACK_LD2 | SADLBACK | NCLR | QPRIO1 | 5.1
SADLBACK_SADLBACK_LD5 | SADLBACK | PowerStorage | QBEEP1 | 9.95
SADLBACK_SADLBACK_LD6 | SADLBACK | CLR | QPRIOR | 10
SADLBACK_SADLBACK_LD7 | SADLBACK | CLR | QPRIOR | 10
SAGE_SAGE_LD1 | SAGE | NCLR | QTENSK | 6
SALTFLAT_SALTFLAT_LD6 | SALTFLAT | NCLR | QPRIO1 | 5.1
SALTMINE_SALTMINE_LD1 | SALTMINE | NCLR | QPRIO1 | 5
SANDHSYD_CC1 | SANDHSYD | CC | QAEN | 139
SANDHSYD_CC1 | SANDHSYD | CC | QAEN | 142
SANDHSYD_SH1 | SANDHSYD | SCLE90 | QAEN | 47
SANDHSYD_SH2 | SANDHSYD | SCLE90 | QAEN | 47
SANDHSYD_SH3 | SANDHSYD | SCLE90 | QAEN | 47
SANDHSYD_SH4 | SANDHSYD | SCLE90 | QAEN | 47
SANDHSYD_SH6 | SANDHSYD | SCLE90 | QAEN | 47
SANDHSYD_SH7 | SANDHSYD | SCLE90 | QAEN | 47
SANMIGL_G1 | SANMIGL | CoalAndLignite | QSTEC | 391
SANTAFE_SANTAFE_LD1 | SANTAFE | NCLR | QMP2EN | 5.1
SANTARIT_SANTARIT_LD1 | SANTARIT | NCLR | QENRWI | 7
SANTARIT_SANTARIT_LD2 | SANTARIT | NCLR | QTENSK | 3
SANTARIT_SANTARIT_LD3 | SANTARIT | NCLR | QTENSK | 3
SANTARIT_SANTARIT_LD4 | SANTARIT | NCLR | QTENSK | 2
SANTARIT_SANTARIT_LD5 | SANTARIT | NCLR | QTENSK | 3
SBEAN_SBEAN_LD1 | SBEAN | NCLR | QEDE20 | 10
SBEAN_SBEAN_LD6 | SBEAN | NCLR | QPRIO1 | 5.1
SBEAN_SBEAN_LD7 | SBEAN | NCLR | QPRIO1 | 5.1
SBEAN_SBEAN_LD8 | SBEAN | NCLR | QPRIO1 | 5.1
SBEAN_SBEAN_LD9 | SBEAN | PowerStorage | QBEEP1 | 5
SBEAN_SBEAN_LD9 | SBEAN | PowerStorage | TONCOR | 5
SCES_UNIT1_J01 | SCES | CoalAndLignite | QSANDY | 932.61
SCES_UNIT1_J02 | SCES | CoalAndLignite | QBRZSC | 932.61
SCES_UNIT1_J03 | SCES | CoalAndLignite | QSANDY | 932.61
SCES_UNIT1_J04 | SCES | CoalAndLignite | QLCRA | 932.61
SCHOTTKY_SCHOTTKY_LD1 | SCHOTTKY | NCLR | QPRIO1 | 25
SCIMORXC_SCIMORXC_LD1 | SCIMORXC | NCLR | QEDE20 | 13
SCK_SCK_LD1 | SCK | NCLR | QOCCID | 60
SCLPCOGN_SCLPC_1 | SCLPCOGN | SCGT90 | QTEN14 | 120
SCLPCOGN_SCLPC_2 | SCLPCOGN | SCGT90 | QTEN14 | 120
SCLPCOGN_SCLPC_3 | SCLPCOGN | SCGT90 | QTEN14 | 120
SCLPCOGN_SCLPC_4 | SCLPCOGN | SCGT90 | QTEN14 | 120
SCR_SCR_LD1 | SCR | NCLR | QMP2EN | 30.1
SCSES_UNIT1A | SCSES | GSReheat | QLUMN | 167
SCSES_UNIT2 | SCSES | GSReheat | QLUMN | 502
SCSFE_SCSFE_LD1 | SCSFE | NCLR | QMP2EN | 5.1
SCURY_SCURY_LD2 | SCURY | NCLR | QOCCID | 11
SEAWAY_SEAWAY_LD1 | SEAWAY | NCLR | QMP2EN | 30.1
SFTLK_SFTLK_LD1 | SFTLK | NCLR | QENRWI | 2
SGSA_SGSA_LD3 | SGSA | NCLR | QPRIO1 | 5.1
SGSA_SGSA_LD5 | SGSA | PowerStorage | QM2SQ1 | 9.95
SHPWK_SHPWK_LD1 | SHPWK | NCLR | QEDE20 | 65
SHSTH_SHSTH_LD1 | SHSTH | NCLR | QEDE20 | 16
SI_SI_LD1 | SI | NCLR | QMP2EN | 30.1
SILASRAY_CC1 | SILASRAY | CC | QTENSK | 20
SILASRAY_CC1 | SILASRAY | CC | QTENSK | 38
SILASRAY_SILAS_10 | SILASRAY | SCLE90 | QTENSK | 46
SJS_SJS_G1 | SJS | SCLE90 | QNRGTX | 80
SJS_SJS_G2 | SJS | SCLE90 | QNRGTX | 80
SKY1_SKY1A | SKY1 | ReciprocatingEngine | QGAR14 | 26.7
SKY1_SKY1B | SKY1 | ReciprocatingEngine | QGAR14 | 26.7
SL_SL_G1 | SL | SCLE90 | QSHEL1 | 65
SL_SL_G2 | SL | SCLE90 | QSHEL1 | 65
SL_SL_G3 | SL | GSNonReheatWOAirPreHeat | QSHEL1 | 30
SL_SL_G4 | SL | GSNonReheatWOAirPreHeat | QSHEL1 | 30
SLCNHLS_SLCNHLS_LD1 | SLCNHLS | PowerStorage | QSHEL2 | 50
SLCNHLS_SLCNHLS_LD2 | SLCNHLS | PowerStorage | QSHEL2 | 50
SLTLK_SLTLK_LD1 | SLTLK | NCLR | QTENSK | 8
SMIDLAND_SMIDLAND_LD1 | SMIDLAND | NCLR | QMP2EN | 5.1
SMIDLAND_SMIDLAND_LD2 | SMIDLAND | NCLR | QTENSK | 3
SMIDLAND_SMIDLAND_LD3 | SMIDLAND | NCLR | QENRWI | 1.5
SNDOW_SNDOW_LD1 | SNDOW | NCLR | QEDE20 | 170
SNDSW_SNDSW_LD1 | SNDSW | CLR | QPRIOR | 100
SNDSW_SNDSW_LD2 | SNDSW | NCLR | QPRIOR | 70
SNDSW_SNDSW_LD3 | SNDSW | NCLR | QPRIOR | 100
SNDSW_SNDSW_LD5 | SNDSW | NCLR | QPRIOR | 70
SNDSW_SNDSW_LD6 | SNDSW | NCLR | QPRIOR | 70
SNDSW_SNDSW_LD7 | SNDSW | NCLR | QPRIOR | 70
SNDSW_SNDSW_LD8 | SNDSW | NCLR | QPRIOR | 100
SNY_BESS_SNY_BESS_LD1 | SNY_BESS | PowerStorage | QPERFT | 9.95
SOL_SOL_LD5 | SOL | NCLR | QNRGTX | 26
SOUTH_SI_SOUTH_SI_LD1 | SOUTH_SI | NCLR | QVOLTU | 1.2
SPNCER_SPNCE_4 | SPNCER | GSNonReheatWOAirPreHeat | QGAR | 57
SPNCER_SPNCE_5 | SPNCER | GSNonReheatWOAirPreHeat | QGAR | 61
SPTX12B_SPTX12B_LD1 | SPTX12B | PowerStorage | QEDIS9 | 25.1
STAM_SLR_STAM_SLR_LD1 | STAM_SLR | PowerStorage | QENE12 | 70
STAM_SLR_STAM_SLR_LD1 | STAM_SLR | PowerStorage | QENEL5 | 70
STANT_STANT_LD3 | STANT | NCLR | QEDE20 | 2.5
STANT_STANT_LD4 | STANT | NCLR | QEDE20 | 7
STANT_STANT_LD6 | STANT | NCLR | QENRWI | 1.5
STANT_STANT_LD8 | STANT | NCLR | QTENSK | 14
STEAM_ENGINE_1 | STEAM | ReciprocatingEngine | QGEUS | 8.2
STEAM_ENGINE_2 | STEAM | ReciprocatingEngine | QGEUS | 8.2
STEAM_ENGINE_3 | STEAM | ReciprocatingEngine | QGEUS | 8.2
STEAM_STEAM_2 | STEAM | GSNonReheatWOAirPreHeat | QGEUS | 21.5
STEAM_STEAM_3 | STEAM | GSNonReheatWOAirPreHeat | QGEUS | 36
STEAM1A_STEAM_1 | STEAM1A | GSNonReheatWOAirPreHeat | QGEUS | 17.5
STF_STF_LD1 | STF | NCLR | QENROC | 6.5
STF_STF_LD2 | STF | NCLR | QPRIO1 | 10
STF_STF_LD3 | STF | NCLR | QPRIO1 | 10
STHCROSS_STHCROSS_LD1 | STHCROSS | NCLR | QOCCID | 10
STILES_STILES_LD1 | STILES | NCLR | QTENSK | 2
STILES_STILES_LD2 | STILES | NCLR | QTENSK | 2
STILES_STILES_LD4 | STILES | NCLR | QPRIO1 | 25
SWEENY_SWEENY_LD1 | SWEENY | PowerStorage | QBROAD | 9.95
SWOOSE1_SWOOSE1_LD1 | SWOOSE1 | PowerStorage | QTENSK | 9.9
SWOOSEII_SWOOSEII_LD1 | SWOOSEII | PowerStorage | QTEN22 | 100
SWPRT_SWPRT_LD3 | SWPRT | NCLR | QENRWI | 15
SWT_BESS_SWT_BESS_LD1 | SWT_BESS | PowerStorage | QPERFT | 6
SWYTG_SWYTG_LD1 | SWYTG | NCLR | QMP2EN | 30.1
S_LCOGEN_S_LCOGEN_LD2 | S_LCOGEN | NCLR | QNRGTX | 40
TABOR_TABOR_LD1 | TABOR | NCLR | QMP2EN | 5.1
TALLCITY_TALLCITY_LD3 | TALLCITY | NCLR | QPRIO1 | 10
TANK_TANK_LD1 | TANK | NCLR | QPRIO1 | 6.1
TARBUSH_TARBUSH_LD1 | TARBUSH | NCLR | QPRIO1 | 46
TC_TCHP1 | TC | SCLE90 | QEDE34 | 46.3
TELPH_RD_TELPH_RD_LD3 | TELPH_RD | NCLR | QPRIO1 | 10.1
TEN_CC1 | TEN | CC | QBRAZP | 106
TEN_CC1 | TEN | CC | QBRAZP | 163
TERSO_TERSO_LD3 | TERSO | NCLR | QEDE20 | 7
TGCCS_CC1 | TGCCS | CC | QSHEL2 | 135
TGCCS_CC1 | TGCCS | CC | QSHEL2 | 153
TGCCS_CC1 | TGCCS | CC | QSHEL2 | 156
TGCCS_CC1 | TGCCS | CC | QSHEL2 | 402
TGS_GT01 | TGS | SCLE90 | QSHEL2 | 67.5
TGSTP_TGSTP_LD3 | TGSTP | NCLR | QEDE20 | 9
THORN_THORN_LD1 | THORN | NCLR | QPRIO1 | 5.1
THW_CC1 | THW | CC | QNRGTX | 54
THW_CC1 | THW | CC | QNRGTX | 110
THW_CC2 | THW | CC | QNRGTX | 54
THW_CC2 | THW | CC | QNRGTX | 110
THW_THWGT51 | THW | SCLE90 | QNRGTX | 56
THW_THWGT52 | THW | SCLE90 | QNRGTX | 56
THW_THWGT53 | THW | SCLE90 | QNRGTX | 56
THW_THWGT54 | THW | SCLE90 | QNRGTX | 56
THW_THWGT55 | THW | SCLE90 | QNRGTX | 56
THW_THWGT56 | THW | SCLE90 | QNRGTX | 56
THW_THWGT_1 | THW | SCLE90 | QNRGTX | 14
THW_THW_LD1 | THW | NCLR | QMP2EN | 5.1
THW_THW_LD2 | THW | NCLR | QVOLTU | 0.9
TINSLEY_TINSLEY_LD1 | TINSLEY | NCLR | QPRIO1 | 25
TIODE_TIODE_LD4 | TIODE | NCLR | QENRWI | 3
TM_TM_LD1 | TM | NCLR | QMP2EN | 12.1
TM_TM_LD2 | TM | NCLR | QMP2EN | 5.1
TMNTH_TMNTH_LD1 | TMNTH | NCLR | QTENSK | 8
TMNTH_TMNTH_LD4 | TMNTH | NCLR | QMP2EN | 25
TMNTH_TMNTH_LD5 | TMNTH | NCLR | QMP2EN | 20.1
TNAF_TNAF_LD1 | TNAF | CLR | QALTRE | 12
TNAF_TNAF_LD2 | TNAF | CLR | QALTRE | 18
TNBRDROC_TNBRDROC_LD1 | TNBRDROC | NCLR | QOCCID | 16
TNBRDROC_TNBRDROC_LD2 | TNBRDROC | NCLR | QOCCID | 16
TNBRDROX_TNBRDROX_LD1 | TNBRDROX | NCLR | QOCCID | 15
TNPRXAIR_TNPRXAIR_LD1 | TNPRXAIR | NCLR | QCALP | 60
TNPRXAIR_TNPRXAIR_LD1 | TNPRXAIR | NCLR | QNRGTX | 60
TNP_ONE_TNP_O_1 | TNP_ONE | CoalAndLignite | QLONE2 | 155
TNP_ONE_TNP_O_2 | TNP_ONE | CoalAndLignite | QLONE2 | 155
TNSKA_CC1 | TNSKA | CC | QLONE2 | 76
TNSKA_CC1 | TNSKA | CC | QLONE2 | 87
TOPAZ_UNIT1 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT10 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT2 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT3 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT4 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT5 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT6 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT7 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT8 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOPAZ_UNIT9 | TOPAZ | SCLE90 | QTEN23 | 44.53
TOSBATT_TOSBATT_LD1 | TOSBATT | PowerStorage | QNRGTX | 2.2
TOSBATT_UNIT1 | TOSBATT | PowerStorage | QNRGTX | 2
TOYAH_TOYAH_LD2 | TOYAH | PowerStorage | QBEEP1 | 9.95
TPECOSPL_TPECOSPL_LD1 | TPECOSPL | NCLR | QEDE20 | 40
TRIANGLE_TRIANGLE_LD1 | TRIANGLE | NCLR | QTENSK | 3
TRIANGLE_TRIANGLE_LD2 | TRIANGLE | NCLR | QENRWI | 1
TRIPBUT1_TRIPBUT1_LD1 | TRIPBUT1 | PowerStorage | QTEN22 | 7.5
TRSES_UNIT6 | TRSES | GSReheat | QLUMN | 235
TURQBESS_TURQBESS_LD1 | TURQBESS | PowerStorage | QEDI10 | 190
TXCTY_CC1 | TXCTY | CC | QCALP | 80.32
TXCTY_CC1 | TXCTY | CC | QCALP | 124.94
TXHRV_TXHRV_LD5 | TXHRV | NCLR | QEDE20 | 60
TXI1_TXI1_LD1 | TXI1 | NCLR | QTENSK | 22
TXI1_TXI1_LD2 | TXI1 | NCLR | QTENSK | 22
TXI1_TXI1_LD3 | TXI1 | NCLR | QTENSK | 42
TXI1_TXI1_LD4 | TXI1 | NCLR | QTENSK | 42
TYLNE_TYLNE_LD1 | TYLNE | NCLR | QENRWI | 1
TYNAN_TYNAN_LD1 | TYNAN | NCLR | QENROC | 6.5
TY_COOKE_GT2 | TY_COOKE | SCLE90 | QTEN10 | 14
TY_COOKE_GT3 | TY_COOKE | SCLE90 | QTEN10 | 17
UCC_COGN_UCC_C_2 | UCC_COGN | SCLE90 | QTENS7 | 15
UPTON_UPTON_LD1 | UPTON | NCLR | QTENSK | 7
UPTON_UPTON_LD2 | UPTON | NCLR | QENRWI | 1.5
UPTON_UPTON_LD8 | UPTON | NCLR | QPRIO1 | 10
VERH_VERH_LD1 | VERH | NCLR | QENRWI | 1.3
VERH_VERH_LD2 | VERH | NCLR | QPRIO1 | 5.1
VESTS_VESTS_LD1 | VESTS | NCLR | QMP2EN | 5.1
VICTORIA_CC1 | VICTORIA | CC | QTENS4 | 125
VICTORIA_CC1 | VICTORIA | CC | QTENS4 | 160
VICTPORT_CTG01 | VICTPORT | SCLE90 | QTENSK | 44
VICTPORT_CTG02 | VICTPORT | SCLE90 | QTENSK | 44
VICTPRT2_UNIT1 | VICTPRT2 | SCLE90 | QSHEL2 | 44
VICTPRT2_UNIT2 | VICTPRT2 | SCLE90 | QSHEL2 | 44
VORTEX_VORTEX_LD1 | VORTEX | PowerStorage | QENEL8 | 121.8
WAP_WAPGT_1 | WAP | SCLE90 | QNRGTX | 13
WAP_WAP_G1 | WAP | GSReheat | QNRGTX | 169
WAP_WAP_G2 | WAP | GSReheat | QNRGTX | 169
WAP_WAP_G3 | WAP | GSReheat | QNRGTX | 246
WAP_WAP_G4 | WAP | GSSupercritical | QNRGTX | 527
WAP_WAP_G5 | WAP | CoalAndLignite | QNRGTX | 664
WAP_WAP_G6 | WAP | CoalAndLignite | QNRGTX | 663
WAP_WAP_G7 | WAP | CoalAndLignite | QNRGTX | 577
WAP_WAP_G8 | WAP | CoalAndLignite | QNRGTX | 610
WARING_WARING_LD1 | WARING | NCLR | QMP2EN | 5.1
WBROK_WBROK_LD4 | WBROK | NCLR | QPRIO1 | 10.1
WBROK_WBROK_LD5 | WBROK | NCLR | QPRIO1 | 10.1
WCOLLDG_WCOLLDG_LD1 | WCOLLDG | PowerStorage | QEONG3 | 9.9
WCPP_CC1 | WCPP | CC | QLUMN | 241.4
WCPP_CC1 | WCPP | CC | QLUMN | 298
WEBBS_WEBBS_LD1 | WEBBS | NCLR | QENRWI | 7
WELCH_WELCH_LD3 | WELCH | NCLR | QOCCID | 10
WELCH_WELCH_LD4 | WELCH | NCLR | QOCCID | 7
WELCOM_WELCOM_LD1 | WELCOM | NCLR | QMP2EN | 5.1
WFBSN_WFBSN_LD1 | WFBSN | NCLR | QEDE20 | 9
WFCOGEN_CC1 | WFCOGEN | CC | QEDF23 | 17
WFCOGEN_CC1 | WFCOGEN | CC | QEDF23 | 20
WFTANK_WFTANK_LD1 | WFTANK | PowerStorage | QEDI11 | 160
WHCCS_CC1 | WHCCS | CC | QTEN20 | 230.5
WHCCS_CC1 | WHCCS | CC | QTEN20 | 238.5
WHCCS_CC1 | WHCCS | CC | QTEN20 | 268
WHCCS2_CC2 | WHCCS2 | CC | QEXELO | 327.8
WHCCS2_CC2 | WHCCS2 | CC | QEXELO | 329.3
WHCCS2_CC2 | WHCCS2 | CC | QEXELO | 458.3
WICKT_WICKT_LD2 | WICKT | NCLR | QPRIO1 | 5.1
WILDCAT_WILDCAT_LD1 | WILDCAT | NCLR | QENDU2 | 7.5
WILDCAT_WILDCAT_LD2 | WILDCAT | NCLR | QENDU2 | 13
WILLO_WILLO_LD3 | WILLO | NCLR | QPRIO1 | 30
WINKS_WINKS_LD1 | WINKS | NCLR | QEDE20 | 5
WINKS_WINKS_LD2 | WINKS | NCLR | QEDE20 | 1.5
WIPOPA_WPP_G1 | WIPOPA | SCLE90 | QLCRA | 44
WIPOPA_WPP_G2 | WIPOPA | SCLE90 | QLCRA | 44
WIPOPA_WPP_G3 | WIPOPA | SCLE90 | QLCRA | 44
WIPOPA_WPP_G4 | WIPOPA | SCLE90 | QLCRA | 44
WIRTZ_WIRTZ_G1 | WIRTZ | Hydro | QLCRA | 29
WIRTZ_WIRTZ_G2 | WIRTZ | Hydro | QLCRA | 29
WKBSN_WKBSN_LD2 | WKBSN | NCLR | QOCCID | 10
WMMMR_WMMMR_LD1 | WMMMR | NCLR | QENRWI | 4
WND_WHITNEY1 | WND | Hydro | QEDI12 | 22
WND_WHITNEY2 | WND | Hydro | QEDI12 | 22
WOPOD_WOPOD_LD1 | WOPOD | NCLR | QENRWI | 60
WORSHAM_WORSHAM_LD1 | WORSHAM | NCLR | QPRIO1 | 5.1
WORSHAM_WORSHAM_LD2 | WORSHAM | NCLR | QPRIO1 | 5.1
WORSHAM_WORSHAM_LD3 | WORSHAM | NCLR | QPRIO1 | 5.1
WORSHAM_WORSHAM_LD4 | WORSHAM | NCLR | QPRIO1 | 5.1
WORSHAM_WORSHAM_LD6 | WORSHAM | NCLR | QENRWI | 4
WORSHAM_WORSHAM_LD7 | WORSHAM | PowerStorage | QSHEL2 | 9.9
WOV_BESS_WOV_BESS_LD1 | WOV_BESS | PowerStorage | QPERFT | 9
WRN_WRN_LD1 | WRN | NCLR | QEDE20 | 25
WRN_WRN_LD2 | WRN | NCLR | QEDE20 | 25
WRN_WRN_LD3 | WRN | NCLR | QEDE20 | 50
WRN_WRN_LD4 | WRN | NCLR | QEDE20 | 50
WXOCF_WXOCF_LD3 | WXOCF | NCLR | QEDE20 | 23
X443ESS1_X443ESS1_LD1 | X443ESS1 | PowerStorage | QCPSE | 10
YATES_YATES_LD1 | YATES | NCLR | QMP2EN | 5.1