ERCOT 2008 Severe Weather Drill (Hurricane)

(Recommendations for In-House Drill Activity for QSEs)

- Arrange for additional QSE staff and the safety of their families

- Staff backup sites

- Test backup communications

- Insure storm preparations are taken at the plants – Calculate the restart time of plants in the storm path

- Plan to replace generation that will be forced to shutdown and made unavailable by the storm

- Test backup generators and verify fuel supplies are adequate for the duration of the storm

- Verify the readiness of each plant – Delay non-essential maintenance

- Make preparations for alternate fuel – circulate Fuel Oil, test fuel oil burn, fuel switching, etc

- Simulate Gas Supply Interruption (Force Majeure) and/or fuel switching (notifying ERCOT, accordingly)

- Simulate Plant Outage due to loss of a transmission line

- Coordinate a transmission outage with the TO prior to drill date

- Simulate loss and/or reduction of load – Revise Load Schedules

- Simulate Resource Plan updates

- Simulate OOMC units

- Simulate Hydro operation for flood anticipation (LCRA, Brazos Electric and possibly STEC)

- Simulate Constant Frequency Operations

- Simulate loss of telecommunications system

- Involve support groups, such as Communications, IT, Engineering

- Include LaaR customers in Drill activity