ERCOT 2008 Drill

Script (ERCOT Version)

The beginning of each hotline call shall begin as follows:

“ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

Day 6, 0900/OPERATING CONDITION NOTICE

(0900 Drill Time, May 12)

The T/S Desk makes a Hotline call to Transmission Operators

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is issuing an OCN.   The National Hurricane Center is predicting “The Hurricane” has a 20% chance of landfall on the Texas coast.     Currently, “The Hurricane” is a Category 4 hurricane.

TOs are advised:

- To review Planned Outages and determine if they should be cancelled.

- Review existing outages for the possibility of restoring the outages to service.

- Review emergency operating procedures, evacuation plans, and the possible need to staff backup facilities.

- Any company that plans to relocate its’ operations to a backup control center is to immediately notify ERCOT and make preparations to test its’ Backup Site communications.

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is issuing an OCN.   The National Hurricane Center is predicting “The Hurricane” has a 20% chance of landfall on the Texas coast.     Currently, “The Hurricane” is a Category 4 hurricane.

All QSEs are advised to:

- Review fuel supplies, resource plans, resource maintenance and outages and then report status back to ERCOT, including submitting Fuel Reporting Form(s) to ERCOT.

- Review emergency operating procedures, evacuation plans, and the possible need to staff backup facilities.

- Any company that plans to relocate its operations to a backup control center is to immediately notify ERCOT and make preparations to test its Backup Site communications.

“This is a drill.”

Day 6, 1830/ADVISORY

(1430 Drill Time, May12)

The T/S Desk makes a Hotline call to Transmission Operators.

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This is the ERCOT System Operator.  ERCOT is issuing an Advisory.  The National Hurricane Center has issued an updated landfall projection for “The Hurricane”.

“The Hurricane” is expected to approach South Padre Island and move North Easterly along the Texas Gulf Coast, eventually making landfall in or around the San Antonio bay area.”

TOs are to:

- Review internal preparations and report to ERCOT on the status of operations (to include status of primary/backup control centers, and any staffing changes at primary/backup control centers, due to evacuations)

- Immediately notify ERCOT, and make preparations to test failover communications/systems between Backup Control Centers and ERCOT if relocation becomes necessary.

- Restore any remaining outages on equipment able to be returned to service…then report equipment status back to ERCOT

- TOs/TDSPs are to file/update DOE Form 417

ERCOT Drill Fax Number:  512-248-3887

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs.

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This is the ERCOT System Operator.  ERCOT is issuing an Advisory.  The National Hurricane Center has issued an updated landfall projection for “The Hurricane”.

“The Hurricane” is expected to approach South Padre Island and move North Easterly along the Texas Gulf Coast, eventually making landfall in or around the San Antonio bay area.”

“QSEs:

- Are advised to continually review fuel supplies and to make available any outaged resources that are able to return to service.

- Update Resource Plans

- Report any conditions or changes that may affect system security.

- Direct plant operators to prepare for projected severe weather conditions and review procedures for operating in the lead due to possible high voltage concerns.

- Be prepared to bid all available DBES when directed by ERCOT.

- Immediately notify ERCOT, and make preparations to test failover communications and systems between Backup Control Centers and ERCOT if relocating personnel to backup control centers.

“This is a drill.”

Day 7, 1300/ALERT

(1300 Drill Time, May 13)

The T/S Desk makes a Hotline call to Transmission Operators

“Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is issuing an Alert.  Landfall projections have not changed.  The hurricane is expected to make landfall Wednesday morning, Day 8.

“The Hurricane” is expected to approach South Padre Island and move North Easterly along the Texas Gulf Coast, eventually making landfall in or around the San Antonio bay area.  Meanwhile, further review of load and resource forecasts indicates to ERCOT that loads could be significantly lower, and resource availability could be significantly greater than what is required.

“The Hurricane” is still a Category 4 hurricane.

TOs are to:

- Restore any remaining outages that can be returned to service.

- Prepare to lose load and expect high voltage conditions as the hurricane approaches landfall.

- Coastal TOs, in harms way, are to report any transmission facility damage due to tidal surge or high wind.

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs

“Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is issuing an Alert.  Landfall projections have not changed.  The hurricane is expected to make landfall Wednesday morning, Day 8.

“The Hurricane” is expected to approach South Padre Island and move North Easterly along the Texas Gulf Coast, eventually making landfall in or around the San Antonio bay area.

Further review of load and resource forecasts indicates to ERCOT that loads could be significantly lower, and resource availability could be significantly greater than what is required.

“The Hurricane” is still a Category 4 hurricane.

QSEs are to:

- Notify all resources of conditions.

- Make available any resources that can be returned to service.  All entities report back to ERCOT with equipment status.

- Restart time on units that will be off line during the storm will be made available to ERCOT for restoration purposes.

- Bid in all available DBES and adjust Resource Plans as appropriate.

- Verify latest storm impact on fuel availability…then report status back to ERCOT, including submitting Fuel Reporting Forms to ERCOT.

“This is a drill.”

DAY 8, 0800/COMMUNICATION TESTING

(0800 Drill Time, May 14)

0800:  Test all communications systems between participating entities; this includes telephones, satellite phones, faxes, radios, internet communications, backup control centers, hotlines, and etc.

ERCOT will test the SSRG Hotline and initiate a Hotline Test Call. Call will be made at 08:30 SSRG roll-call at 08:40

Day 8, 0900/LANDFALL & EMERGENCY NOTICE

(0900 Drill Time, May 14)

The T/S Desk makes a Hotline call to Transmission Operators

“Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

This is the ERCOT System Operator. ERCOT is issuing an Emergency Notice. “The Hurricane ” has made landfall at South Padre Island, TX.

- TOs/TDSPs prepare to lose load and expect high voltage conditions as the storm moves inland.

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

This is the ERCOT System Operator.  ERCOT is issuing an Emergency Notice. “The Hurricane” has made landfall at South Padre Island, TX.  “The Hurricane” is still a Category 4 hurricane.

- QSEs are to be prepared to reduce generator output due to anticipated load loss and respond to voltage support issues as requested.

- Continue to adjust Resource Plans to reflect available status.

“This is a drill.”

Day 8, 2100 / CANCEL EMERGENCY NOTICE

(1240 Drill Time, May 14)

The T/S Desk makes a Hotline call to Transmission Operators

Script: “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is canceling the Emergency Notice.  “The Hurricane” has been downgraded to a Tropical Storm.

- Continue to assess transmission damages and notify ERCOT of any transmission outages.

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

This is the ERCOT System Operator.  ERCOT is canceling the Emergency Notice.  “The Hurricane” has been downgraded to a Tropical Storm.

- Continue attempting to make voice contact with your resources and update your Resource Plan to reflect available status.

“This is a drill.”

Day 8, 2300 / CANCEL ALERT

(1330 Drill Time, May 14)

The T/S Desk makes a Hotline call to Transmission Operators

Script: “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is canceling the Alert.  “The Hurricane” has crossed the Texas border into Oklahoma.

Continue to assess transmission damages and notify ERCOT of any significant facility status change.

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

This is the ERCOT System Operator. ERCOT is canceling the Alert.  “The Hurricane” has crossed the Texas border into Oklahoma.

Continue attempting to make voice contact with your resources and update your Resource Plan to reflect available status.

“This is a drill.”

Day 8, 2330 / CANCEL ADVISORY

(1400 Drill Time, May 14)

The T/S Desk makes a Hotline call to Transmission Operators

Script: “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.

This is the ERCOT System Operator.  ERCOT is canceling the Advisory.  Continue to assess transmission damages and notify ERCOT of any significant facility status change.

“This is a drill.”

The Frequency Control Desk makes a Hotline call to QSEs

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

This is the ERCOT System Operator.  ERCOT is canceling the Advisory.  When you make contact with your Resources, notify ERCOT of any significant resource status change.  Also continue to update your Resource Plan.

“This is a drill.”

Day 8, 0200 / CANCEL OCN

(1430 Drill Time, May 14)

OCN is canceled