Agenda

Day 1 (1200 – 1700)

12:00 – 12:10	Introduction

12:10 – 15:00	Black Start Theory (Kelly Blackmer)

15:00 – 15:10	Break: Separate into rooms for Simulator Training

15:10 – 17:00	Black Start Simulator Training and begin System Restoration

(ERCOT Instructors)

Objectives

Day 1 (1200 – 1500)

- Identify the roles of ERCOT and the TOs in the restoration process.

- Identify the point at which ERCOT takes control of each Island and the coordination that happens between ERCOT and the transmission operator

- Identify guidelines for Black Start generator control during system restoration.

- Identify the frequency levels at which generation and firm load will trip according to the Operating Guides.

- State the importance of restoring off site power to nuclear facilities during restoration and who is responsible

- Identify the causes of Island trips during restoration.

- Identify guidelines for energizing transmission equipment and load.

- Identify information that should be communicated to ERCOT from QSEs and TOs.

- Identify information that should be communicated between TOs and QSEs

- Identify things that need to be considered after a Blackout when clearing a station for restoration

- Identify tools the transmission operator can use to match voltage before tying islands together.

- Identify what tools the transmission operator can use to match frequency and phase angle when tying islands together.

- Identify the importance of proper communication during system restoration.

Agenda

Day 2 (0700 – 1700)

0700 	Assemble in assigned classrooms for simulation and log into computers.

(Breakfast provided)

0700 – 1200	ERCOT Black Start Simulation in individual rooms

1200 – 1230	Break

1230 – 1700	ERCOT Black Start Simulation in individual rooms (continued)

Agenda

Day 3 (0700 – 1200)

0700 	Assemble in assigned classrooms for simulation and log into computers.

(Breakfast provided)

0700 – 1200	ERCOT Black Start Simulation in individual rooms

1200 – 1300	Lunch

1300 – 1400	ERCOT Black Start Simulation critique and wrap-up.

Simulation Objectives

Day 2 and 3

ERCOT OPERATORS:

- Demonstrate ERCOT system restoration using the ERCOT simulator.

- Demonstrate proper communication procedures during the restoration process.

- Demonstrate ability to perform the functions of the RC according to the ERCOT Black Start Plan.

- Observe restoration progress and give assistance to the QSE and TOP where necessary.

- Assume control of combined islands from TOs.

TO:

- Demonstrate ERCOT system restoration using the ERCOT simulator.

- Demonstrate proper communication procedures during the restoration process.

- Communicate with QSE and give instruction concerning voltage profiles needed from the generation resources during restoration.

- Communicate with QSEs and give instruction concerning mw output for generation resources during the restoration exercise.

- Control voltage on the transmission system during the restoration process using capacitor banks, reactors and generation resources.

QSE:

- Demonstrate ERCOT system restoration using the ERCOT simulator.

- Demonstrate proper communication procedures during the restoration process.

- Demonstrate control of generation resources during restoration.

- Communicate with TO and determine voltage profiles needed from the generation resources during restoration and follow TOs instructions.

- Communicate with the TO and determine the needed mw output for generation resources during the restoration exercise.

- Maintain frequency to a level above 59.4 and below 60.02