All,

The annual “Winter Storm Drill” as required by the ERCOT Nodal Operating Guides, Section 1.5.4, will be conducted October 20th and 21st, 2015.

Part of the requirement states that:  “TOs and QSEs that represent Generation Resources are required to participate in the severe weather drill.”

This year’s Drill will simulate a massive cold air mass quickly moving into Texas in a 72 hour time frame.  The Drill will begin at 0730 on Oct. 21th, and simulate a five day event (See Drill Script for details).

This year’s simulation will utilize the ERCOT simulator (similar to Black Start training utilizing remote access).  Each Market Participant will be issued a single user login and password to access the Macomber Map (TOs) and WebFG (QSEs) through Citrix utilizing your company’s digital certificate.  Each participant will need to provide ERCOT with the following information:

- Any transmission equipment that may be removed from service (with breaker designations), overloaded, forced, etc., and approximate times.

- Any transmission equipment that can be restored from outage, if requested by ERCOT.

- Any generation that may be forced offline, de-rated, etc.

- Any fuel curtailments that may affect generation (indicate which generators and the anticipated affect).

- Any additional generation that is available to come online.

NOTE:  User logins for Macomber Map and WebFG will only be issued to Market Participants that RSVP (with all requested scripts) by the cutoff date below.

For compliance purposes, it will be necessary to document your company’s participation.  Drill logs, attendance records, and a comprehensive training plan will be used to meet these requirements.  Your company is required to develop its own additional in-house Drill scenarios, which should include coordination and participation with neighboring TOs and QSEs.  Companies should also conduct a post-mortem Critique immediately following the Drill, and apply this time toward ERCOT’s 32-hour reliability training requirement.  Finally, we would encourage the senior management of all companies to participate in the Drill.

ERCOT will coordinate the Drill from its Training Center in Taylor.  On October 20th, we will test all communications in preparation for the drill day on October 21st.  Between the hours of 0730 – 1630 on October 20th and 21st, operators will be available to answer questions and make log entries as Drill participants report simulated system conditions.  No one will be available after 1630.

Please do not call the ERCOT control rooms at anytime for Drill questions.

Because the Training Center does not have turret phones, each Drill participant will be assigned a number to call during the drill.  ERCOT will create a list of contact numbers for all market participants after the September 1st deadline.  That list will be distributed to all participants.  Please only use your designated  number.  This will help us facilitate the volume of calls.  If you are not on the list, please contact me via e-mail and we will assign your company a number.  ERCOT’s fax number for the drill is (512) 248-3887.

Please RSVP to john.jarmon@ercot.com by September 1st, 2015 and include the following required information:

- The phone number of the site from which you intend to run your Drill.  These numbers will be assembled into one phone list to be used by all Drill participants, in order to facilitate inter-company communication.

- A copy of your training plan.  Your plan will be forwarded to the Texas Reliability Entity (TRE).

Below is a timeline of events and due dates:

- July 27, 2015 – Drill Invite issued by ERCOT to market.

- August 7, 2015 – Your Company’s Drill Coordinator and his/her contact information due back to ERCOT.  Each Coordinator will be contacted individually and provided a user name and password for logging into the simulator.  During this time ERCOT will assist each participant in testing the communication link to the ERCOT simulator.

- August 28, 2015 – ERCOT Client Relations will send out a reminder market notice for Drill Script Deadline.

- September 4, 2015 – Drill Participants’ RSVPs due back to ERCOT with individual drill scripts. No Drill scripts will be accepted after September 4th

- September 25, 2015 – ERCOT will send out the remainder of the drill information (i.e. ERCOT contact numbers, Market Participant contact numbers, and Drill Critique forms).

- September 28, 2015 – ERCOT Client Relations will send out a reminder market notice for Drill Conference Call.

- October 5, 2015 – Drill Conference Call.  There will be two separate instructional conference calls; one for TOs and one for QSEs.  Once the details are confirmed, instructions will be e-mailed to all Drill participants.

- October 21, 2015 – Drill day (0730 – 1630).

- November 2, 2015 – Drill Participants’ Critique responses due back to ERCOT.

- October 28, 2015 – Backup Drill day.

Please be aware that ERCOT will be unable to issue Continuing Education Hours for this Drill!

Contact me should you have any questions.

Regards,

John Jarmon

Training Specialist

ERCOT System Operations Training

(512) 248-3035