ERCOT 2013 Severe Weather Drill

Script for Real Time/Resource Desk (ERCOT Version)

(NOTE- times associated with the events on this script are estimates only)

The beginning of each hotline call shall begin as follows:

“ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.”

| DAY 1 | 07:30 | COMMUNICATION TESTING |
| --- | --- | --- |

| DAY 1 | 08:30 | ocn: ISSUED WHEN THE STORM IS FIVE DAYS AWAY |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.

“This call requires everyone to remain on the line until it is complete. [QSE] I will be asking you for the repeat back. This is ERCOT Operator [first and last name]. At [xx:xx], ERCOT is issuing an OCN for an extreme cold weather system approaching in the next 5 days with temperatures anticipated to remain 32°F or below in the three largest weather zones.

QSEs are instructed to:

- Review fuel supplies and notify ERCOT of any known or anticipated fuel restrictions,

- Review Planned Resource outages and consider delaying maintenance or returning from outage early,

- Review and implement weatherization and emergency operating procedures, including winterization procedures.  Notify ERCOT of any changes or conditions that could affect system reliability.

ERCOT will continue to monitor the extreme cold weather system.  [QSE] please repeat this back to me.  That is correct, thank you

“This is a drill.”

| DAY 1 | 10:00 | advisory: issued when storm is three days away |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This call requires everyone to remain on the line until it is complete. [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name]. At [xx:xx], ERCOT is issuing an Advisory for the extreme cold weather system approaching in the next 3 days with temperatures anticipated to remain 32°F or below in the three largest weather zones.

QSEs are instructed to:

- Review fuel supplies and notify ERCOT of any known or anticipated fuel restrictions,

- Review Planned Resource outages and consider delaying maintenance or returning from outage early,

- Review and implement weatherization and emergency operating procedures, including winterization procedures.  Notify ERCOT of any changes or conditions that could affect System Reliability.

ERCOT will continue to monitor the extreme cold weather system. [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 1 | 12:00 | watch: issued when storm is one day away |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This call requires everyone to remain on the line until it is complete. [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name]. At [xx:xx], ERCOT is issuing a Watch for the extreme cold weather system approaching tomorrow.  Temperatures are expected to remain 32°F  or below in the three largest weather zones.

QSEs are instructed to:

- Make available, any Resources that can be returned to service and keep COPs and HSLs updated,

- Review fuel supplies and notify ERCOT of any known or anticipated fuel restrictions,

- Prepare for higher than usual loads and the possible need for more Ancillary Services,

- Review and implement weatherization and emergency operating procedures, including winterization procedures.  Notify ERCOT of any changes or conditions that could affect System Reliability.

ERCOT will continue to monitor the extreme cold weather system.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 08:00 | market notification of media appeal |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This is ERCOT operator [first and last name]; ERCOT has issued an appeal through the public news media for voluntary energy conservation.  Any questions? Thank you”.

“This is a drill.”

| DAY 2 | 11:00 | emergency: issued when the storm is in texas |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This call requires everyone to remain on the line until it is complete. [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name]. At [xx:xx], ERCOT is issuing an Emergency Notice, the extreme cold weather is beginning to have an adverse impact on the ERCOT System such as [state what the adverse impacts are].

QSEs are instructed to:

- Make Resources available that can be returned to service and keep COPs and HSLs updated.

- Review fuel supplies and notify ERCOT of any known or anticipated fuel restrictions,

- Notify ERCOT of any changes or conditions that could affect System Reliability.

ERCOT will continue to monitor the extreme cold weather system. [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 11:30 | advisory issued for prc below 3000 mw |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name].  At [xx:xx], ERCOT is issuing an Advisory due to Physical Responsive Capability falling below 3000 MW.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 12:00 | watch issued for prc below 2500 mw |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name].  At [xx:xx], ERCOT is issuing a Watch due to Physical Responsive Capability falling below 2500 MW.  Suspend all resource testing and update telemetered Resource Status Codes.  ERCOT is reminding you, that you can schedule available interchange into ERCOT across the DC Ties.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 12:30 | eea 1 |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name].  At [xx:xx], ERCOT is declaring EEA 1, QSEs are to perform their necessary steps for EEA 1.  Report to ERCOT any loss of generation or issues, and ERCOT is reminding you that you can schedule available interchange into ERCOT across the DC-Ties.  [QSE] please repeat this directive back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 13:00 | eea 2 |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name], at [xx:xx], ERCOT is declaring EEA 2 and has deployed all Load Resources.  Implement all measures associated with EEA 1, if not already implemented.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 14:00 | eea 3 |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill. All of the following instructions are for simulation and test purposes only. No real-time action is to be taken.”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name], at [xx:xx], ERCOT is declaring EEA 3, [MW Amount] of firm load is being shed.  Implement all measures associated with EEA 1 and EEA 2, if not already implemented.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill”

| DAY 2 | 14:30 | restore firm load |
| --- | --- | --- |

Script: “ERCOT IS CONDUCTING A DRILL. ALL OF THE FOLLOWING INSTRUCTIONS ARE FOR SIMULATION AND TEST PURPOSES ONLY.  NO REAL-TIME ACTION IS TO BE TAKEN”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name], at [xx:xx]  ERCOT is restoring firm load.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill”

| DAY 2 | 15:00 | eea 3 to eea 2 |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name].  At [xx:xx], ERCOT is moving from EEA 3 to EEA 2.”  QSEs are to recall all Load Resources at this time.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 16:00 | eea 2 to eea 1 |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back. This is ERCOT operator [first and last name].  At [xx:xx], ERCOT is moving from EEA 2 to EEA 1.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This is a drill.”

| DAY 2 | 16:15 | eea 1 to termination |
| --- | --- | --- |

Script:  “ERCOT is conducting a drill.  All of the following instructions are for simulation and test purposes only.  No real-time action is to be taken.”

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back.  This is ERCOT operator [first and last name].  At [xx:xx], ERCOT is terminating EEA 1.  A Watch still remains in effect.  [QSE] please repeat this back to me.  That is correct, thank you.”

“This drill is now concluded.”